{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":187,"n_cols":16,"rows_kept":187,"cut":false,"hidden":false,"merged":[]}
["Date","Hour","Tempature","Dew Point","Relative humidity","Wind Speed","Wind Direction","Percipitation","Atomspheric Pressure MSL","Atomspheric Pressure","Total Solar Radiation (W/m2)","Leaf Wetness (U)","Soil Temperature (oC)","Soil Moisture (%)","Internal Temperature (oC)","Battery Voltage (V)"]
["13-03-2016","16:00:00",13.9,"4.8 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.2 mm","1006.7 hPa","949.0 hPa","4.5 W/m2","-99.9 U","0.0 oC",0.26300000000000001,"5.7 oC","6.9 V"]
["13-03-2016","17:00:00",15,"4.8 oC",0.92500000000000004,"0.0 m/s","0.0    N","0.4 mm","1006.3 hPa","948.7 hPa","0.1 W/m2","-99.9 U","0.0 oC",0.26500000000000001,"5.7 oC","6.8 V"]
["13-03-2016","18:00:00",15.9,"4.7 oC",0.92900000000000005,"0.0 m/s","0.0    N","0.8 mm","1006.7 hPa","949.0 hPa","0.2 W/m2","-99.9 U","0.0 oC",0.25900000000000001,"5.7 oC","6.8 V"]
["13-03-2016","19:00:00",15.5,"4.9 oC",0.92700000000000005,"0.0 m/s","0.0    N","2.4 mm","1006.9 hPa","949.2 hPa","0.2 W/m2","-99.9 U","0.0 oC",0.25600000000000001,"5.7 oC","6.8 V"]
["13-03-2016","20:00:00",15.6,"5.0 oC",0.92100000000000004,"0.0 m/s","0.0    N","1.8 mm","1006.8 hPa","949.1 hPa","0.2 W/m2","-99.9 U","0.0 oC",0.35799999999999998,"5.7 oC","6.7 V"]
["13-03-2016","21:00:00",8,"4.3 oC",0.92900000000000005,"0.0 m/s","0.1    N","2.4 mm","1006.6 hPa","948.9 hPa","0.0 W/m2","-99.9 U","0.0 oC",0.95399999999999996,"5.7 oC","6.7 V"]
["13-03-2016","22:00:00",12.3,"4.3 oC",0.92300000000000004,"0.0 m/s","0.0    N","2.8 mm","1006.7 hPa","949.0 hPa","0.1 W/m2","-99.9 U","0.0 oC",0.95699999999999996,"5.7 oC","6.7 V"]
["13-03-2016","23:00:00",10.6,"4.2 oC",0.92300000000000004,"0.0 m/s","0.1    N","2.0 mm","1006.4 hPa","948.8 hPa","0.0 W/m2","-99.9 U","0.0 oC",0.95699999999999996,"5.7 oC","6.7 V"]
["14-03-2016","00:00:00",13.9,"4.0 oC",0.91200000000000003,"0.0 m/s","0.0    N","1.4 mm","1006.6 hPa","948.6 hPa","0.2 W/m2","-99.9 U","0.0 oC",0.95599999999999996,"4.2 oC","6.7 V"]
["14-03-2016","01:00:00",13.9,"3.6 oC",0.91800000000000004,"0.0 m/s","0.0    N","0.6 mm","1005.9 hPa","948.0 hPa","0.2 W/m2","-99.9 U","0.0 oC",0.95699999999999996,"4.2 oC","6.7 V"]
["14-03-2016","02:00:00",13.9,"3.3 oC",0.92,"0.0 m/s","0.1    N","0.6 mm","1005.9 hPa","948.0 hPa","0.0 W/m2","-99.9 U","-0.1 oC",0.95499999999999996,"4.2 oC","6.7 V"]
["14-03-2016","03:00:00",15,"3.2 oC",0,"0.0 m/s","0.0    N","0.8 mm","1006.4 hPa","948.5 hPa","0.0 W/m2","-99.9 U","-0.1 oC",0.95699999999999996,"4.2 oC","6.6 V"]
["14-03-2016","04:00:00",15.9,"3.2 oC",0,"0.0 m/s","0.0    N","0.2 mm","1006.8 hPa","948.8 hPa","0.1 W/m2","-99.9 U","-0.1 oC",0.95599999999999996,"4.2 oC","6.6 V"]
["14-03-2016","05:00:00",15.5,"3.1 oC",0,"0.0 m/s","0.0    N","0.4 mm","1007.4 hPa","949.4 hPa","8.0 W/m2","-99.9 U","-0.1 oC",0.95599999999999996,"4.2 oC","6.6 V"]
["14-03-2016","06:00:00",15.6,"3.1 oC",0,"0.0 m/s","0.0    N","0.6 mm","1008.1 hPa","950.1 hPa","26.0 W/m2","-99.9 U","-0.1 oC",0.95699999999999996,"4.2 oC","6.6 V"]
["14-03-2016","07:00:00",14.9,"3.1 oC",0,"0.0 m/s","0.0    N","1.8 mm","1008.9 hPa","951.1 hPa","58.6 W/m2","-99.9 U","-0.2 oC",0.95899999999999996,"5.7 oC","6.7 V"]
["14-03-2016","08:00:00",12.3,"2.8 oC",0,"0.0 m/s","0.1    N","0.2 mm","1009.4 hPa","951.6 hPa","113.5 W/m2","-99.9 U","-0.2 oC",0.96,"5.7 oC","6.7 V"]
["14-03-2016","09:00:00",10.6,"2.5 oC",0,"0.0 m/s","0.1    N","0.0 mm","1009.4 hPa","951.9 hPa","172.5 W/m2","-99.9 U","-0.2 oC",0.95699999999999996,"7.3 oC","6.8 V"]
["14-03-2016","10:00:00",13.9,"3.5 oC",0,"0.0 m/s","0.1    N","0.0 mm","1008.1 hPa","951.6 hPa","465.2 W/m2","-99.9 U","-0.2 oC",0.89200000000000002,"12.0 oC","7.0 V"]
["14-03-2016","11:00:00",8,"3.6 oC",0,"0.0 m/s","0.1    N","0.0 mm","1008.0 hPa","951.5 hPa","387.8 W/m2","-99.9 U","-0.3 oC",0.308,"12.0 oC","7.1 V"]
["14-03-2016","12:00:00",13.9,"3.4 oC",0,"0.0 m/s","0.1    N","0.0 mm","1008.0 hPa","951.2 hPa","195.6 W/m2","-99.9 U","-0.3 oC",0.28399999999999997,"10.4 oC","7.2 V"]
["14-03-2016","13:00:00",15,"0.3 oC",0,"0.0 m/s","0.0    N","0.0 mm","1008.5 hPa","951.4 hPa","155.4 W/m2","-99.9 U","-0.3 oC",0.23799999999999999,"8.9 oC","7.2 V"]
["14-03-2016","14:00:00",15.9,"2.0 oC",0,"0.0 m/s","0.0    N","0.0 mm","1008.4 hPa","951.6 hPa","173.3 W/m2","-99.9 U","-0.2 oC",0.22900000000000001,"10.4 oC","7.3 V"]
["14-03-2016","15:00:00",15.5,"1.0 oC",0,"0.0 m/s","0.0    N","0.0 mm","1009.4 hPa","952.2 hPa","62.7 W/m2","-99.9 U","-0.2 oC",0.224,"8.9 oC","7.2 V"]
["14-03-2016","16:00:00",15.6,"-0.7 oC",0.92300000000000004,"0.0 m/s","0.1    N","0.0 mm","1010.3 hPa","952.8 hPa","13.7 W/m2","-99.9 U","-0.1 oC",0.221,"7.3 oC","7.1 V"]
["14-03-2016","17:00:00",14.9,"0.8 oC",0.92500000000000004,"0.0 m/s","0.0    N","0.0 mm","1011.1 hPa","953.2 hPa","0.1 W/m2","-99.9 U","-0.1 oC",0.22,"5.7 oC","7.1 V"]
["14-03-2016","18:00:00",12.3,"1.3 oC",0.92900000000000005,"0.0 m/s","0.1    N","0.0 mm","1011.6 hPa","953.7 hPa","0.2 W/m2","-99.9 U","0.0 oC",0.22,"5.7 oC","7.1 V"]
["14-03-2016","19:00:00",10.6,"-0.6 oC",0.92700000000000005,"0.0 m/s","0.0    N","0.0 mm","1012.1 hPa","954.1 hPa","0.1 W/m2","-99.9 U","0.0 oC",0.219,"5.7 oC","7.0 V"]
["14-03-2016","20:00:00",13.9,"-4.2 oC",0.92100000000000004,"0.0 m/s","0.1    N","0.0 mm","1012.5 hPa","954.5 hPa","0.0 W/m2","-99.9 U","0.0 oC",0.217,"5.7 oC","7.0 V"]
["14-03-2016","21:00:00",13.9,"-5.2 oC",0.92900000000000005,"0.0 m/s","0.0    N","0.0 mm","1012.7 hPa","954.7 hPa","0.1 W/m2","-99.9 U","0.1 oC",0.214,"5.7 oC","6.9 V"]
["14-03-2016","22:00:00",13.9,"-5.1 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.0 mm","1012.8 hPa","954.8 hPa","0.1 W/m2","-99.9 U","0.1 oC",0.215,"5.7 oC","6.9 V"]
["14-03-2016","23:00:00",15,"-0.5 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.0 mm","1013.2 hPa","955.2 hPa","0.2 W/m2","-99.9 U","0.1 oC",0.21299999999999999,"5.7 oC","6.9 V"]
["15-03-2016","00:00:00",15.9,"0.6 oC",0.91200000000000003,"0.0 m/s","0.0    N","0.0 mm","1013.9 hPa","955.5 hPa","0.2 W/m2","-99.9 U","0.0 oC",0.214,"4.2 oC","6.8 V"]
["15-03-2016","01:00:00",15.5,"0.6 oC",0.91800000000000004,"0.0 m/s","0.1    N","0.0 mm","1013.9 hPa","955.5 hPa","0.1 W/m2","-99.9 U","0.0 oC",0.21299999999999999,"4.2 oC","6.8 V"]
["15-03-2016","02:00:00",15.6,"-1.2 oC",0.92,"0.0 m/s","0.0    N","0.0 mm","1014.4 hPa","955.7 hPa","0.1 W/m2","-99.9 U","0.0 oC",0.21199999999999999,"2.6 oC","6.8 V"]
["15-03-2016","03:00:00",14.9,"-0.3 oC",0,"0.0 m/s","0.1    N","0.0 mm","1014.8 hPa","955.7 hPa","0.2 W/m2","-99.9 U","-0.1 oC",0.21199999999999999,"1.0 oC","6.8 V"]
["15-03-2016","04:00:00",12.3,"-0.1 oC",0,"0.0 m/s","0.1    N","0.8 mm","1014.8 hPa","955.7 hPa","0.2 W/m2","-99.9 U","-0.1 oC",0.21299999999999999,"1.0 oC","6.7 V"]
["15-03-2016","05:00:00",10.6,"-0.1 oC",0,"0.0 m/s","0.0    N","0.6 mm","1014.9 hPa","955.8 hPa","7.9 W/m2","-99.9 U","-0.2 oC",0.21299999999999999,"1.0 oC","6.7 V"]
["15-03-2016","06:00:00",13.9,"0.2 oC",0,"0.0 m/s","0.1    N","0.8 mm","1015.3 hPa","956.2 hPa","31.2 W/m2","-99.9 U","-0.2 oC",0.21299999999999999,"1.0 oC","6.7 V"]
["15-03-2016","07:00:00",13.9,"-0.0 oC",0,"0.0 m/s","0.1    N","1.0 mm","1014.9 hPa","956.1 hPa","53.7 W/m2","-99.9 U","-0.2 oC",0.21199999999999999,"2.6 oC","6.8 V"]
["15-03-2016","08:00:00",13.9,"0.2 oC",0,"0.0 m/s","0.0    N","0.4 mm","1015.1 hPa","956.3 hPa","119.2 W/m2","-99.9 U","-0.3 oC",0.20699999999999999,"2.6 oC","6.9 V"]
["15-03-2016","09:00:00",15,"0.5 oC",0,"0.0 m/s","0.0    N","0.4 mm","1014.9 hPa","956.1 hPa","134.5 W/m2","-99.9 U","-0.3 oC",0.20799999999999999,"2.6 oC","7.0 V"]
["15-03-2016","10:00:00",15.9,"1.2 oC",0,"0.0 m/s","0.1    N","0.2 mm","1013.6 hPa","955.5 hPa","255.7 W/m2","-99.9 U","-0.4 oC",0.20699999999999999,"5.7 oC","7.1 V"]
["15-03-2016","11:00:00",15.5,"0.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","1013.6 hPa","955.2 hPa","123.0 W/m2","-99.9 U","-0.4 oC",0.21199999999999999,"4.2 oC","7.2 V"]
["15-03-2016","12:00:00",15.6,"0.9 oC",0,"0.0 m/s","0.0    N","0.4 mm","1012.9 hPa","954.6 hPa","164.3 W/m2","-99.9 U","-0.5 oC",0.214,"4.2 oC","7.3 V"]
["15-03-2016","13:00:00",14.9,"1.4 oC",0,"0.0 m/s","0.0    N","0.4 mm","1012.3 hPa","954.3 hPa","263.4 W/m2","-99.9 U","-0.5 oC",0.20899999999999999,"5.7 oC","7.4 V"]
["15-03-2016","14:00:00",12.3,"1.3 oC",0,"0.0 m/s","0.0    N","0.2 mm","1012.6 hPa","954.3 hPa","169.9 W/m2","-99.9 U","-0.5 oC",0.20599999999999999,"4.2 oC","7.3 V"]
["15-03-2016","15:00:00",10.6,"1.0 oC",0,"0.0 m/s","0.0    N","0.2 mm","1013.2 hPa","954.5 hPa","56.9 W/m2","-99.9 U","-0.5 oC",0.20899999999999999,"2.6 oC","7.3 V"]
["15-03-2016","16:00:00",13.9,"0.6 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.2 mm","1013.8 hPa","954.8 hPa","18.7 W/m2","-99.9 U","-0.5 oC",0.20599999999999999,"1.0 oC","7.2 V"]
["15-03-2016","17:00:00",13.9,"0.8 oC",0.92500000000000004,"0.0 m/s","0.0    N","0.2 mm","1014.4 hPa","955.3 hPa","0.1 W/m2","-99.9 U","-0.5 oC",0.20699999999999999,"1.0 oC","7.1 V"]
["15-03-2016","18:00:00",13.9,"-99.9 oC",0.92900000000000005,"0.0 m/s","0.0    N","0.2 mm","-99.9 hPa","-99.9 hPa","0.3 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","7.1 V"]
["15-03-2016","19:00:00",15,"-99.9 oC",0.92700000000000005,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","7.1 V"]
["15-03-2016","20:00:00",15.9,"-99.9 oC",0.92100000000000004,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","7.0 V"]
["15-03-2016","21:00:00",15.5,"-99.9 oC",0.92900000000000005,"0.0 m/s","0.0    N","0.4 mm","-99.9 hPa","-99.9 hPa","0.3 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","7.0 V"]
["15-03-2016","22:00:00",15.6,"-99.9 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.2 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","7.0 V"]
["15-03-2016","23:00:00",14.9,"-99.9 oC",0.92300000000000004,"0.0 m/s","0.1    N","0.4 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","6.9 V"]
["16-03-2016","00:00:00",12.3,"-99.9 oC",0.91200000000000003,"0.0 m/s","0.1    N","0.4 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","6.9 V"]
["16-03-2016","01:00:00",10.6,"-99.9 oC",0.91800000000000004,"0.0 m/s","0.1    N","0.2 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","6.9 V"]
["16-03-2016","02:00:00",13.9,"-99.9 oC",0.92,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.3 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","6.8 V"]
["16-03-2016","03:00:00",13.9,"-99.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.3 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","6.8 V"]
["16-03-2016","04:00:00",13.9,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","6.8 V"]
["16-03-2016","05:00:00",15,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","8.6 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","6.8 V"]
["16-03-2016","06:00:00",15.9,"-99.9 oC",0,"0.0 m/s","0.1    N","0.4 mm","-99.9 hPa","-99.9 hPa","45.0 W/m2","-99.9 U","-99.9 oC",-0.999,"2.6 oC","6.8 V"]
["16-03-2016","07:00:00",15.5,"-99.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","112.7 W/m2","-99.9 U","-99.9 oC",-0.999,"4.2 oC","6.9 V"]
["16-03-2016","08:00:00",15.6,"-99.9 oC",0,"0.0 m/s","0.0    N","0.2 mm","-99.9 hPa","-99.9 hPa","155.8 W/m2","-99.9 U","-99.9 oC",-0.999,"5.7 oC","7.0 V"]
["16-03-2016","09:00:00",14.9,"1.8 oC",0,"0.0 m/s","0.0    N","0.4 mm","1020.7 hPa","962.2 hPa","198.7 W/m2","-99.9 U","-0.9 oC",0.20799999999999999,"5.7 oC","7.1 V"]
["16-03-2016","10:00:00",12.3,"1.9 oC",0,"0.0 m/s","0.1    N","0.2 mm","1021.8 hPa","963.0 hPa","71.3 W/m2","-99.9 U","-0.9 oC",0.20499999999999999,"4.2 oC","7.2 V"]
["16-03-2016","11:00:00",10.6,"1.8 oC",0,"0.0 m/s","0.0    N","0.0 mm","1021.7 hPa","962.9 hPa","116.2 W/m2","-99.9 U","-0.9 oC",0.20599999999999999,"4.2 oC","7.3 V"]
["16-03-2016","12:00:00",13.9,"1.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","1021.6 hPa","962.8 hPa","126.5 W/m2","-99.9 U","-1.0 oC",0.20899999999999999,"4.2 oC","7.3 V"]
["16-03-2016","13:00:00",13.9,"1.8 oC",0,"0.0 m/s","0.1    N","0.0 mm","1021.7 hPa","962.9 hPa","92.8 W/m2","-99.9 U","-0.9 oC",0.214,"4.2 oC","7.3 V"]
["16-03-2016","14:00:00",13.9,"2.3 oC",0,"0.0 m/s","0.1    N","0.0 mm","1021.4 hPa","962.9 hPa","101.5 W/m2","-99.9 U","-0.9 oC",0.21099999999999999,"5.7 oC","7.3 V"]
["16-03-2016","15:00:00",15,"2.1 oC",0,"0.0 m/s","0.1    N","0.0 mm","1021.8 hPa","963.0 hPa","69.8 W/m2","-99.9 U","-0.9 oC",0.21299999999999999,"4.2 oC","7.3 V"]
["16-03-2016","16:00:00",15.9,"1.8 oC",0.92300000000000004,"0.0 m/s","0.1    N","0.0 mm","1022.3 hPa","963.4 hPa","21.8 W/m2","-99.9 U","-0.9 oC",0.21099999999999999,"4.2 oC","7.2 V"]
["16-03-2016","17:00:00",15.5,"1.8 oC",0.92500000000000004,"0.0 m/s","0.0    N","0.0 mm","1023.0 hPa","963.8 hPa","0.1 W/m2","-99.9 U","-0.9 oC",0.20899999999999999,"2.6 oC","7.1 V"]
["16-03-2016","18:00:00",15.6,"2.0 oC",0.92900000000000005,"0.0 m/s","0.0    N","0.0 mm","1023.5 hPa","964.2 hPa","0.0 W/m2","-99.9 U","-0.9 oC",0.21299999999999999,"2.6 oC","7.1 V"]
["16-03-2016","19:00:00",14.9,"2.0 oC",0.92700000000000005,"0.0 m/s","0.0    N","0.0 mm","1024.0 hPa","964.7 hPa","0.1 W/m2","-99.9 U","-0.9 oC",0.21,"2.6 oC","7.1 V"]
["16-03-2016","20:00:00",12.3,"1.7 oC",0.92100000000000004,"0.0 m/s","0.0    N","0.0 mm","1024.1 hPa","964.8 hPa","0.1 W/m2","-99.9 U","-0.9 oC",0.21099999999999999,"2.6 oC","7.0 V"]
["16-03-2016","21:00:00",10.6,"1.7 oC",0.92900000000000005,"0.0 m/s","0.0    N","0.0 mm","1024.1 hPa","964.8 hPa","0.2 W/m2","-99.9 U","-0.9 oC",0.20899999999999999,"2.6 oC","7.0 V"]
["16-03-2016","22:00:00",13.9,"2.0 oC",0.92300000000000004,"0.0 m/s","0.1    N","0.0 mm","1024.0 hPa","964.7 hPa","0.2 W/m2","-99.9 U","-0.9 oC",0.21299999999999999,"2.6 oC","7.0 V"]
["16-03-2016","23:00:00",13.9,"1.8 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.0 mm","1024.0 hPa","964.7 hPa","0.0 W/m2","-99.9 U","-0.9 oC",0.21,"2.6 oC","6.9 V"]
["17-03-2016","00:00:00",13.9,"1.1 oC",0.91200000000000003,"0.0 m/s","0.1    N","0.0 mm","1023.9 hPa","964.6 hPa","0.0 W/m2","-99.9 U","-0.9 oC",0.20899999999999999,"2.6 oC","6.9 V"]
["17-03-2016","01:00:00",15,"1.9 oC",0.91800000000000004,"0.0 m/s","0.0    N","0.0 mm","1023.6 hPa","964.3 hPa","0.1 W/m2","-99.9 U","-0.9 oC",0.21,"2.6 oC","6.9 V"]
["17-03-2016","02:00:00",15.9,"2.0 oC",0.92,"0.0 m/s","0.1    N","0.0 mm","1023.5 hPa","964.2 hPa","0.2 W/m2","-99.9 U","-0.9 oC",0.21099999999999999,"2.6 oC","6.8 V"]
["17-03-2016","03:00:00",15.5,"1.4 oC",0,"0.0 m/s","0.1    N","0.0 mm","1023.3 hPa","964.1 hPa","0.2 W/m2","-99.9 U","-0.9 oC",0.20699999999999999,"2.6 oC","6.8 V"]
["17-03-2016","04:00:00",15.6,"1.4 oC",0,"0.0 m/s","0.1    N","0.0 mm","1023.5 hPa","964.2 hPa","0.1 W/m2","-99.9 U","-1.0 oC",0.20899999999999999,"2.6 oC","6.8 V"]
["17-03-2016","05:00:00",14.9,"-99.9 oC",0,"0.0 m/s","0.0    N","0.2 mm","-99.9 hPa","-99.9 hPa","4.4 W/m2","-99.9 U","-99.9 oC",-0.999,"2.6 oC","6.8 V"]
["17-03-2016","06:00:00",12.3,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","47.2 W/m2","-99.9 U","-99.9 oC",-0.999,"2.6 oC","6.8 V"]
["17-03-2016","07:00:00",10.6,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","91.2 W/m2","-99.9 U","-99.9 oC",-0.999,"4.2 oC","6.9 V"]
["17-03-2016","08:00:00",13.9,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","94.1 W/m2","-99.9 U","-99.9 oC",-0.999,"4.2 oC","7.0 V"]
["17-03-2016","09:00:00",13.9,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","225.8 W/m2","-99.9 U","-99.9 oC",-0.999,"7.3 oC","7.1 V"]
["17-03-2016","10:00:00",13.9,"-99.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","226.6 W/m2","-99.9 U","-99.9 oC",-0.999,"8.9 oC","7.2 V"]
["17-03-2016","11:00:00",15,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","316.6 W/m2","-99.9 U","-99.9 oC",-0.999,"10.4 oC","7.3 V"]
["17-03-2016","12:00:00",15.9,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","230.9 W/m2","-99.9 U","-99.9 oC",-0.999,"8.9 oC","7.3 V"]
["17-03-2016","13:00:00",15.5,"-99.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","145.3 W/m2","-99.9 U","-99.9 oC",-0.999,"8.9 oC","7.3 V"]
["17-03-2016","14:00:00",15.6,"-99.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","69.2 W/m2","-99.9 U","-99.9 oC",-0.999,"7.3 oC","7.2 V"]
["17-03-2016","15:00:00",14.9,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","19.9 W/m2","-99.9 U","-99.9 oC",-0.999,"5.7 oC","7.2 V"]
["17-03-2016","16:00:00",12.3,"-99.9 oC",0.92300000000000004,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","13.0 W/m2","-99.9 U","-99.9 oC",-0.999,"5.7 oC","7.1 V"]
["17-03-2016","17:00:00",10.6,"-99.9 oC",0.92500000000000004,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"4.2 oC","7.1 V"]
["17-03-2016","18:00:00",13.9,"-99.9 oC",0.92900000000000005,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.5 W/m2","-99.9 U","-99.9 oC",-0.999,"4.2 oC","7.1 V"]
["17-03-2016","19:00:00",13.9,"-99.9 oC",0.92700000000000005,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"4.2 oC","7.0 V"]
["17-03-2016","20:00:00",13.9,"-99.9 oC",0.92100000000000004,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.5 W/m2","-99.9 U","-99.9 oC",-0.999,"2.6 oC","7.0 V"]
["17-03-2016","21:00:00",15,"-99.9 oC",0.92900000000000005,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.3 W/m2","-99.9 U","-99.9 oC",-0.999,"1.0 oC","7.0 V"]
["17-03-2016","22:00:00",15.9,"-99.9 oC",0.92300000000000004,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.3 W/m2","-99.9 U","-99.9 oC",-0.999,"-0.5 oC","6.9 V"]
["17-03-2016","23:00:00",15.5,"-99.9 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"-0.5 oC","6.9 V"]
["18-03-2016","00:00:00",15.6,"-99.9 oC",0.91200000000000003,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.3 W/m2","-99.9 U","-99.9 oC",-0.999,"-2.1 oC","6.8 V"]
["18-03-2016","01:00:00",14.9,"-99.9 oC",0.91800000000000004,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.3 W/m2","-99.9 U","-99.9 oC",-0.999,"-2.1 oC","6.8 V"]
["18-03-2016","02:00:00",12.3,"-99.9 oC",0.92,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"-2.1 oC","6.8 V"]
["18-03-2016","03:00:00",10.6,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"-2.1 oC","6.8 V"]
["18-03-2016","04:00:00",13.9,"-99.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","-99.9 hPa","-99.9 hPa","0.4 W/m2","-99.9 U","-99.9 oC",-0.999,"-2.1 oC","6.7 V"]
["18-03-2016","05:00:00",13.9,"-99.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","-99.9 hPa","-99.9 hPa","53.8 W/m2","-99.9 U","-99.9 oC",-0.999,"-0.5 oC","6.7 V"]
["18-03-2016","06:00:00",13.9,"-1.4 oC",0,"0.0 m/s","0.0    N","0.0 mm","1014.4 hPa","956.6 hPa","225.3 W/m2","-99.9 U","-1.2 oC",0.20399999999999999,"7.3 oC","7.1 V"]
["18-03-2016","07:00:00",15,"0.0 oC",0,"0.0 m/s","0.1    N","0.0 mm","1012.6 hPa","955.8 hPa","414.8 W/m2","-99.9 U","-1.2 oC",0.20799999999999999,"12.0 oC","7.2 V"]
["18-03-2016","08:00:00",15.9,"1.4 oC",0,"0.0 m/s","0.0    N","0.0 mm","1012.5 hPa","956.1 hPa","612.6 W/m2","-99.9 U","-1.3 oC",0.20599999999999999,"13.6 oC","7.3 V"]
["18-03-2016","09:00:00",15.5,"1.1 oC",0,"0.0 m/s","0.0    N","0.0 mm","1011.5 hPa","955.1 hPa","712.4 W/m2","-99.9 U","-1.3 oC",0.20699999999999999,"13.6 oC","7.3 V"]
["18-03-2016","10:00:00",15.6,"1.7 oC",0,"0.0 m/s","0.1    N","0.0 mm","1011.4 hPa","955.0 hPa","456.6 W/m2","-99.9 U","-1.4 oC",0.20699999999999999,"13.6 oC","7.3 V"]
["18-03-2016","11:00:00",14.9,"2.5 oC",0,"0.0 m/s","0.1    N","0.0 mm","1010.5 hPa","954.2 hPa","829.7 W/m2","-99.9 U","-1.4 oC",0.20599999999999999,"13.6 oC","7.4 V"]
["18-03-2016","12:00:00",12.3,"2.5 oC",0,"0.0 m/s","0.0    N","0.0 mm","1010.0 hPa","953.7 hPa","377.1 W/m2","-99.9 U","-1.4 oC",0.20699999999999999,"13.6 oC","7.3 V"]
["18-03-2016","13:00:00",10.6,"2.0 oC",0,"0.0 m/s","0.0    N","0.0 mm","1009.2 hPa","952.6 hPa","207.5 W/m2","-99.9 U","-1.4 oC",0.20599999999999999,"12.0 oC","7.3 V"]
["18-03-2016","14:00:00",13.9,"2.4 oC",0,"0.0 m/s","0.0    N","0.0 mm","1008.9 hPa","952.0 hPa","89.4 W/m2","-99.9 U","-1.3 oC",0.20499999999999999,"10.4 oC","7.3 V"]
["18-03-2016","15:00:00",13.9,"3.3 oC",0,"0.0 m/s","0.0    N","0.0 mm","1009.8 hPa","952.3 hPa","17.9 W/m2","-99.9 U","-1.2 oC",0.20499999999999999,"7.3 oC","7.2 V"]
["18-03-2016","16:00:00",13.9,"3.4 oC",0.92300000000000004,"0.0 m/s","0.1    N","0.0 mm","1009.5 hPa","951.7 hPa","8.6 W/m2","-99.9 U","-1.1 oC",0.20499999999999999,"5.7 oC","7.1 V"]
["18-03-2016","17:00:00",15,"3.3 oC",0.92500000000000004,"0.0 m/s","0.1    N","0.0 mm","1009.7 hPa","951.9 hPa","0.2 W/m2","-99.9 U","-1.0 oC",0.20499999999999999,"5.7 oC","7.1 V"]
["18-03-2016","18:00:00",15.9,"3.4 oC",0.92900000000000005,"0.0 m/s","0.1    N","0.0 mm","1009.4 hPa","951.6 hPa","0.2 W/m2","-99.9 U","-0.9 oC",0.20200000000000001,"5.7 oC","7.1 V"]
["18-03-2016","19:00:00",15.5,"3.8 oC",0.92700000000000005,"0.0 m/s","0.0    N","0.0 mm","1009.3 hPa","951.5 hPa","0.2 W/m2","-99.9 U","-0.8 oC",0.20399999999999999,"5.7 oC","7.1 V"]
["18-03-2016","20:00:00",15.6,"3.6 oC",0.92100000000000004,"0.0 m/s","0.0    N","0.0 mm","1008.8 hPa","951.0 hPa","0.1 W/m2","-99.9 U","-0.7 oC",0.20399999999999999,"5.7 oC","7.0 V"]
["18-03-2016","21:00:00",14.9,"2.9 oC",0.92900000000000005,"0.0 m/s","0.1    N","0.0 mm","1008.6 hPa","950.5 hPa","0.0 W/m2","-99.9 U","-0.7 oC",0.20499999999999999,"4.2 oC","7.0 V"]
["18-03-2016","22:00:00",12.3,"1.6 oC",0.92300000000000004,"0.0 m/s","0.1    N","0.0 mm","1008.9 hPa","950.5 hPa","0.1 W/m2","-99.9 U","-0.7 oC",0.20699999999999999,"2.6 oC","7.0 V"]
["18-03-2016","23:00:00",10.6,"0.6 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.0 mm","1009.2 hPa","950.4 hPa","0.2 W/m2","-99.9 U","-0.6 oC",0.20699999999999999,"1.0 oC","6.9 V"]
["19-03-2016","00:00:00",13.9,"0.4 oC",0.91200000000000003,"0.0 m/s","0.1    N","0.0 mm","1008.8 hPa","950.1 hPa","0.0 W/m2","-99.9 U","-0.6 oC",0.20499999999999999,"1.0 oC","6.9 V"]
["19-03-2016","01:00:00",15,"0.5 oC",0.91800000000000004,"0.0 m/s","0.0    N","0.0 mm","1008.4 hPa","949.7 hPa","0.1 W/m2","-99.9 U","-0.6 oC",0.20599999999999999,"1.0 oC","6.8 V"]
["19-03-2016","02:00:00",13.9,"-0.2 oC",0.92,"0.0 m/s","0.0    N","0.0 mm","1008.0 hPa","949.0 hPa","0.2 W/m2","-99.9 U","-0.7 oC",0.20499999999999999,"-0.5 oC","6.8 V"]
["19-03-2016","03:00:00",15,"-0.4 oC",0,"0.0 m/s","0.0    N","0.0 mm","1007.6 hPa","948.6 hPa","0.1 W/m2","-99.9 U","-0.7 oC",0.20300000000000001,"-0.5 oC","6.8 V"]
["19-03-2016","04:00:00",15.9,"0.2 oC",0,"0.0 m/s","0.1    N","0.0 mm","1006.3 hPa","948.0 hPa","0.2 W/m2","-99.9 U","-0.7 oC",0.20100000000000001,"2.6 oC","6.8 V"]
["19-03-2016","05:00:00",15.5,"-0.0 oC",0,"0.0 m/s","0.0    N","0.0 mm","1005.2 hPa","947.9 hPa","57.5 W/m2","-99.9 U","-0.7 oC",0.20200000000000001,"7.3 oC","6.8 V"]
["19-03-2016","06:00:00",15.6,"-2.0 oC",0,"0.0 m/s","0.1    N","0.0 mm","1004.0 hPa","947.7 hPa","232.3 W/m2","-99.9 U","-0.8 oC",0.20499999999999999,"12.0 oC","7.1 V"]
["19-03-2016","07:00:00",14.9,"-2.1 oC",0,"0.0 m/s","0.1    N","0.0 mm","1002.8 hPa","947.2 hPa","435.8 W/m2","-99.9 U","-0.8 oC",0.20200000000000001,"15.1 oC","7.3 V"]
["19-03-2016","08:00:00",12.3,"-6.1 oC",0,"0.2 m/s","0.1    N","0.0 mm","1003.5 hPa","947.8 hPa","632.7 W/m2","-99.9 U","-0.9 oC",0.20100000000000001,"15.1 oC","7.3 V"]
["19-03-2016","09:00:00",10.6,"-10.0 oC",0,"0.2 m/s","0.1    N","0.0 mm","1003.1 hPa","947.8 hPa","752.9 W/m2","-99.9 U","-0.9 oC",0.20100000000000001,"16.7 oC","7.3 V"]
["19-03-2016","10:00:00",13.9,"-5.0 oC",0,"0.0 m/s","0.1    N","0.0 mm","1003.8 hPa","948.1 hPa","816.8 W/m2","-99.9 U","-1.0 oC",0.20399999999999999,"15.1 oC","7.3 V"]
["19-03-2016","11:00:00",15,"-0.0 oC",0,"0.0 m/s","0.1    N","0.0 mm","1003.4 hPa","948.0 hPa","816.7 W/m2","-99.9 U","-1.0 oC",0.20100000000000001,"16.7 oC","7.3 V"]
["19-03-2016","12:00:00",13.9,"-1.1 oC",0,"0.8 m/s","0.0    N","0.0 mm","1003.3 hPa","947.9 hPa","754.9 W/m2","-99.9 U","-1.0 oC",0.20300000000000001,"16.7 oC","7.3 V"]
["19-03-2016","13:00:00",15,"-0.6 oC",0,"0.0 m/s","0.0    N","0.0 mm","1002.9 hPa","947.9 hPa","654.9 W/m2","-99.9 U","-0.9 oC",0.20200000000000001,"18.3 oC","7.3 V"]
["19-03-2016","14:00:00",15.9,"-1.2 oC",0,"0.1 m/s","0.1    N","0.0 mm","1003.2 hPa","948.4 hPa","486.4 W/m2","-99.9 U","-0.9 oC",0.20100000000000001,"19.8 oC","7.3 V"]
["19-03-2016","15:00:00",15.5,"-1.7 oC",0,"0.0 m/s","0.0    N","0.0 mm","1005.1 hPa","949.1 hPa","71.8 W/m2","-99.9 U","-0.8 oC",0.20200000000000001,"13.6 oC","7.2 V"]
["19-03-2016","16:00:00",15.6,"-2.1 oC",0.92300000000000004,"0.1 m/s","0.1    N","0.0 mm","1006.0 hPa","949.6 hPa","29.1 W/m2","-99.9 U","-0.7 oC",0.20100000000000001,"12.0 oC","7.2 V"]
["19-03-2016","17:00:00",14.9,"-2.7 oC",0.92500000000000004,"0.1 m/s","0.0    N","0.0 mm","1006.5 hPa","949.8 hPa","0.3 W/m2","-99.9 U","-0.6 oC",0.20200000000000001,"10.4 oC","7.1 V"]
["19-03-2016","18:00:00",12.3,"-3.4 oC",0.92900000000000005,"0.0 m/s","0.1    N","0.0 mm","1007.5 hPa","950.7 hPa","0.2 W/m2","-99.9 U","-0.5 oC",0.20200000000000001,"10.4 oC","7.1 V"]
["19-03-2016","19:00:00",10.6,"-2.1 oC",0.92700000000000005,"0.2 m/s","0.0    N","0.0 mm","1008.2 hPa","951.1 hPa","0.2 W/m2","-99.9 U","-0.4 oC",0.20100000000000001,"8.9 oC","7.1 V"]
["19-03-2016","20:00:00",13.9,"-2.5 oC",0.92100000000000004,"0.4 m/s","0.0    N","0.0 mm","1008.5 hPa","951.7 hPa","0.2 W/m2","-99.9 U","-0.4 oC",0.2,"10.4 oC","7.0 V"]
["19-03-2016","21:00:00",13.9,"-2.7 oC",0.92900000000000005,"0.1 m/s","0.0    N","0.0 mm","1009.7 hPa","952.5 hPa","0.2 W/m2","-99.9 U","-0.4 oC",0.20100000000000001,"8.9 oC","7.0 V"]
["19-03-2016","22:00:00",15,"-2.3 oC",0.92300000000000004,"0.2 m/s","0.0    N","0.0 mm","1009.7 hPa","952.5 hPa","0.2 W/m2","-99.9 U","-0.3 oC",0.19900000000000001,"8.9 oC","7.0 V"]
["19-03-2016","23:00:00",15.9,"-3.1 oC",0.92300000000000004,"0.0 m/s","0.1    N","0.0 mm","1010.6 hPa","953.0 hPa","0.1 W/m2","-99.9 U","-0.3 oC",0.2,"7.3 oC","6.9 V"]
["20-03-2016","00:00:00",15.5,"-2.5 oC",0.91200000000000003,"0.1 m/s","0.0    N","0.0 mm","1011.4 hPa","953.5 hPa","0.1 W/m2","-99.9 U","-0.4 oC",0.20200000000000001,"5.7 oC","6.9 V"]
["20-03-2016","01:00:00",15.6,"-3.1 oC",0.91800000000000004,"0.0 m/s","0.0    N","0.0 mm","1011.4 hPa","953.5 hPa","0.2 W/m2","-99.9 U","-0.4 oC",0.2,"5.7 oC","6.9 V"]
["20-03-2016","02:00:00",14.9,"-3.3 oC",0.92,"0.0 m/s","0.0    N","0.0 mm","1012.3 hPa","954.0 hPa","0.2 W/m2","-99.9 U","-0.4 oC",0.2,"4.2 oC","6.8 V"]
["20-03-2016","03:00:00",12.3,"-5.0 oC",0,"0.0 m/s","0.1    N","0.0 mm","1012.7 hPa","954.4 hPa","0.2 W/m2","-99.9 U","-0.4 oC",0.19900000000000001,"4.2 oC","6.8 V"]
["20-03-2016","04:00:00",10.6,"-5.0 oC",0,"0.0 m/s","0.1    N","0.0 mm","1013.2 hPa","954.9 hPa","0.1 W/m2","-99.9 U","-0.5 oC",0.19900000000000001,"4.2 oC","6.8 V"]
["20-03-2016","05:00:00",13.9,"-4.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","1013.2 hPa","955.2 hPa","60.0 W/m2","-99.9 U","-0.5 oC",0.19900000000000001,"5.7 oC","6.8 V"]
["20-03-2016","06:00:00",13.9,"-2.9 oC",0,"0.0 m/s","0.0    N","0.0 mm","1011.7 hPa","955.3 hPa","226.7 W/m2","-99.9 U","-0.6 oC",0.19900000000000001,"13.6 oC","7.1 V"]
["20-03-2016","07:00:00",13.9,"-4.7 oC",0,"0.0 m/s","0.1    N","0.0 mm","1011.3 hPa","955.5 hPa","433.6 W/m2","-99.9 U","-0.6 oC",0.19800000000000001,"16.7 oC","7.2 V"]
["20-03-2016","08:00:00",15,"-5.0 oC",0,"0.0 m/s","0.1    N","0.0 mm","1011.2 hPa","955.4 hPa","608.9 W/m2","-99.9 U","-0.7 oC",0.19700000000000001,"16.7 oC","7.3 V"]
["20-03-2016","09:00:00",15.9,"-2.7 oC",0,"0.0 m/s","0.0    N","0.0 mm","1010.7 hPa","955.2 hPa","731.8 W/m2","-99.9 U","-0.7 oC",0.19800000000000001,"18.3 oC","7.3 V"]
["20-03-2016","10:00:00",15.5,"-5.3 oC",0,"0.0 m/s","0.1    N","0.0 mm","1010.3 hPa","954.9 hPa","805.0 W/m2","-99.9 U","-0.8 oC",0.19900000000000001,"18.3 oC","7.3 V"]
["20-03-2016","11:00:00",15.6,"-3.1 oC",0,"0.0 m/s","0.1    N","0.0 mm","1009.4 hPa","954.3 hPa","832.1 W/m2","-99.9 U","-0.8 oC",0.19700000000000001,"19.8 oC","7.3 V"]
["20-03-2016","12:00:00",14.9,"-2.8 oC",0,"0.0 m/s","0.0    N","0.0 mm","1008.3 hPa","953.5 hPa","780.0 W/m2","-99.9 U","-0.7 oC",0.2,"21.4 oC","7.3 V"]
["20-03-2016","13:00:00",12.3,"-1.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","1007.8 hPa","953.1 hPa","674.4 W/m2","-99.9 U","-0.7 oC",0.19700000000000001,"21.4 oC","7.3 V"]
["20-03-2016","14:00:00",10.6,"-2.0 oC",0,"0.0 m/s","0.1    N","0.0 mm","1007.6 hPa","952.9 hPa","442.8 W/m2","-99.9 U","-0.6 oC",0.19900000000000001,"21.4 oC","7.3 V"]
["20-03-2016","15:00:00",13.9,"-0.9 oC",0,"0.0 m/s","0.1    N","0.0 mm","1008.2 hPa","952.9 hPa","295.8 W/m2","-99.9 U","-0.4 oC",0.19700000000000001,"18.3 oC","7.2 V"]
["20-03-2016","16:00:00",13.9,"-0.2 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.0 mm","1010.1 hPa","953.5 hPa","28.7 W/m2","-99.9 U","-0.3 oC",0.19900000000000001,"12.0 oC","7.2 V"]
["20-03-2016","17:00:00",13.9,"0.6 oC",0.92500000000000004,"0.0 m/s","0.0    N","0.0 mm","1011.3 hPa","954.0 hPa","0.2 W/m2","-99.9 U","-0.1 oC",0.19800000000000001,"8.9 oC","7.1 V"]
["20-03-2016","18:00:00",13.9,"0.2 oC",0.92900000000000005,"0.0 m/s","0.1    N","0.0 mm","1012.1 hPa","954.8 hPa","0.2 W/m2","-99.9 U","0.0 oC",0.19900000000000001,"8.9 oC","7.1 V"]
["20-03-2016","19:00:00",15,"-0.1 oC",0.92700000000000005,"0.0 m/s","0.0    N","0.0 mm","1012.6 hPa","954.9 hPa","0.2 W/m2","-99.9 U","0.2 oC",0.19800000000000001,"7.3 oC","7.1 V"]
["20-03-2016","20:00:00",15.9,"-0.1 oC",0.92100000000000004,"0.0 m/s","0.1    N","0.0 mm","1013.0 hPa","955.3 hPa","0.2 W/m2","-99.9 U","0.2 oC",0.19800000000000001,"7.3 oC","7.0 V"]
["20-03-2016","21:00:00",15.5,"-0.3 oC",0.92900000000000005,"0.0 m/s","0.0    N","0.0 mm","1013.6 hPa","955.5 hPa","0.2 W/m2","-99.9 U","0.3 oC",0.19600000000000001,"5.7 oC","7.0 V"]
["20-03-2016","22:00:00",15.6,"0.1 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.0 mm","1014.3 hPa","955.6 hPa","0.2 W/m2","-99.9 U","0.3 oC",0.19900000000000001,"2.6 oC","6.9 V"]
["20-03-2016","23:00:00",14.9,"-0.7 oC",0.92300000000000004,"0.0 m/s","0.0    N","0.0 mm","1014.1 hPa","955.4 hPa","0.2 W/m2","-99.9 U","0.4 oC",0.19900000000000001,"2.6 oC","6.9 V"]
["21-03-2016","00:00:00",12.3,"-1.6 oC",0.91200000000000003,"0.0 m/s","0.0    N","0.0 mm","1014.5 hPa","955.4 hPa","0.2 W/m2","-99.9 U","0.3 oC",0.19600000000000001,"1.0 oC","6.9 V"]
["21-03-2016","01:00:00",10.6,"-1.3 oC",0.91800000000000004,"0.0 m/s","0.0    N","0.0 mm","1014.0 hPa","955.0 hPa","0.1 W/m2","-99.9 U","0.3 oC",0.19800000000000001,"1.0 oC","6.8 V"]
["21-03-2016","02:00:00",13.9,"-1.5 oC",0.92,"0.0 m/s","0.0    N","0.0 mm","1013.5 hPa","954.5 hPa","0.0 W/m2","-99.9 U","0.3 oC",0.19500000000000001,"1.0 oC","6.8 V"]
["21-03-2016","03:00:00",13.9,"-2.2 oC",0,"0.0 m/s","0.0    N","0.0 mm","1014.4 hPa","955.0 hPa","0.2 W/m2","-99.9 U","0.2 oC",0.19700000000000001,"-0.5 oC","6.8 V"]
["21-03-2016","04:00:00",15,"-2.1 oC",0,"0.0 m/s","0.0    N","0.0 mm","1014.7 hPa","955.3 hPa","0.1 W/m2","-99.9 U","0.1 oC",0.19800000000000001,"-0.5 oC","6.8 V"]
["21-03-2016","05:00:00",15.9,"-1.8 oC",0,"0.0 m/s","0.0    N","0.0 mm","1014.0 hPa","955.3 hPa","50.5 W/m2","-99.9 U","0.1 oC",0.19600000000000001,"2.6 oC","6.8 V"]
["21-03-2016","06:00:00",15.5,"-0.6 oC",0,"0.0 m/s","0.1    N","0.0 mm","1012.3 hPa","955.0 hPa","235.3 W/m2","-99.9 U","0.0 oC",0.19700000000000001,"8.9 oC","7.1 V"]
["21-03-2016","07:00:00",15.6,"3.6 oC",0,"0.0 m/s","0.1    N","0.0 mm","1010.8 hPa","954.7 hPa","465.9 W/m2","-99.9 U","0.0 oC",0.19900000000000001,"15.1 oC","7.2 V"]
["21-03-2016","08:00:00",14.9,"1.2 oC",0,"0.0 m/s","0.1    N","0.0 mm","1009.7 hPa","954.3 hPa","622.7 W/m2","-99.9 U","-0.1 oC",0.19700000000000001,"18.3 oC","7.3 V"]
["21-03-2016","09:00:00",12.3,"-0.7 oC",0,"0.0 m/s","0.1    N","0.0 mm","1009.6 hPa","954.2 hPa","714.6 W/m2","-99.9 U","-0.2 oC",0.19800000000000001,"18.3 oC","7.3 V"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[]}