## WPI '11 Trial 1
Date: mm/dd/yy | Sex: M/F | Age: | back to fire: y/n | Read label: y/n | Time to start: sec | Distance: ft. | Sweep: y/n | At the base: y/n | Time to finish: sec | Continued after fire done: y/n | fire re-ignite: y/n | fire extinguished: y/n | time of extinguishment: sec
2011-04-20 | m | 18 | n | y | 8.64 | 8 | n | n | n/a | n/a | y | n
| 1 |  |  | 1 | [6 empty] | 1
2011-04-20 | m | 19 |  |  | 6.82 | 8 | y | y | 12.3 | y | y | y | 5.48
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | f | 19 |  | y | 29.78 | 8 | n | n | n/a |  |  | n
|  |  |  | 1 | [8 empty] | 14.6
2011-04-20 | m | 19 |  |  | 13.65 | 8 | y | y high | 18 |  |  | y
| 1 | [5 empty] | 1 | 1 |  |  |  | 1 | 7.4
2011-04-20 | m | 19 |  |  | 15.28 | 8 | n | n | 21.2 | n | n | y
| 1 | [10 empty] | 1 | 24.6
2011-04-20 | m | 19 |  | y | 24.21 | 8 | y | y | 27 | n | y slightly but went out??! | y
| 1 |  |  | 1 |  |  | 1 | 1 |  |  | 1 | 1 | 17.6
2011-04-20 | m | 18 |  |  | 8.43 | 8 | y | y | 11.7 | n | y slightly but went out??! | y
| 1 | [5 empty] | 1 | 1 |  |  | 1 | 1 | 7.1
2011-04-20 | m | 19 |  |  | 8.65 | 8 | y | y | 16.2 | n | n | y
| 1 | [5 empty] | 1 | 1 |  |  |  | 1 | 11.5
2011-04-20 | m | 19 |  |  | 19.02 | 8 | y | n | 26.7 | y | y | y
| 1 | [5 empty] | 1 |  |  | 1 | 1 | 1 | 15.1
2011-04-20 | m | 18 |  |  | 23.71 | 8 | y | y | 28.7 | n | n | y
| 1 | [5 empty] | 1 | 1 |  |  |  | 1
2011-04-20 | m | 18 |  |  | 18.46 | 8 | y | y | 28.4 | y | y | y | 9.94
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | m | 19 |  | y | 6.5 | 8 | y | y | n/a | n | y | n | 9.3
| 1 |  |  | 1 |  |  | 1 | 1 |  |  | 1
2011-04-20 | m | 20 |  | y | 27.5 | 8 | y | y | 20.09 | y | n | y | 15.3
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
2011-04-20 | m | 18 |  | y | 13.7 | 8 | y fast | y | 20.4 | n | y slightly but went out??! | y | 7.2
| 1 |  |  | 1 |  |  | 1 | 1 |  |  | 1 | 1
2011-04-20 | m | 20 |  |  | 8.03 | 8 | y fast | y | 18.1 | y | y | y | 16.2
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | m | 19 |  | y | 14 | 8 | n | n | n/a |  |  | n | 9.1
| 1 |  |  | 1
2011-04-20 | m | 19 |  | y | 18.59 | 8 | y | y | 25.5 | y | y | y | 14.1
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | m | 20 |  | y | 30.15 | 8 | y fast | y | 40.1 | y | y | y | 9.8
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | m | 20 |  |  | 10.9 | 8 | y fast | y | 17.1 | y | y | y | 14.1
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | f | 21 |  | y | 46.2 | 8 | y fast | y | 40.37 | n | n | y | 23.4
|  |  |  | 1 |  |  | 1 | 1 |  |  |  | 1
2011-04-20 | f | 21 | y | y | 28.83 | 8 | y | y | 32 | y | y | y | 17.1
|  |  | 1 | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | m | 21 |  | y | 15.3 | 8 | y fast | y | 21.4 | y | n | y | 12.1
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
2011-04-22 | f | 20 |  |  | 12.53 | 8 | y fast | n | 24.8 | y | y | y | 12.7
[7 empty] | 1 |  |  | 1 | 1 | 1
2011-04-22 | f | 19 |  |  | 30.53 | 8 | y fast | n | n/a |  |  | n | 12.9
1
2011-04-22 | f | 19 |  |  | 8.21 | 8 | y fast | n | n/a |  |  | n | 8.3
1
2011-04-22 | m | 19 |  |  | 20.12 | 8 | y | y | 30.141 | y | y | y | 16.1
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 20 |  |  | 7.81 | 8 | y fast | y | 15.4 | y | n | y | 7.9
| 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 20 |  |  | 14.75 | 8 | y fast | y | 18.4 | y | y | y | 8.9
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 19 |  |  | 17.59 | 8 | y fast | n | 23.9 | y | y | y | 7.9
| 1 | [5 empty] | 1 |  |  | 1 | 1 | 1
2011-04-22 | f | 19 |  | y | 16.43 | 8 | y fast | y | 29.9 | y | y | y | 14
|  |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 20 |  | y | 12.15 | 8 | y fast | y high | 16.8 | y | y | y | 13.4
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | f | 20 |  |  | 10.4 | 8 | n | n | n/a |  |  | n | 14
2011-04-22 | m | 19 |  | y | 10.71 | 8 | y fast | n | n/a |  |  | n | 7.5
| 1 |  |  | 1 |  |  | 1
2011-04-22 | m | 18 |  | y | 12.84 | 8 | y fast | y | 20.3 | y | n | y | 22.8
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 19 |  |  | 5.65 | 8 | y fast | y | 16.35 | y | y | y | 7.8
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 19 |  |  | 16.65 | 8 | y fast | y | 26.4 | y | y | y | 9.4
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 18 |  |  | 13.25 | 8 | y fast | y | n/a |  |  | n | 14.4
| 1 | [5 empty] | 1 | 1
2011-04-22 | m | 19 |  | y | 22.93 | 8 | y | y | 33.4 | y | y | y | 11.6
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 23 |  | y | 7.84 | 8 | y | n | n/a |  |  | n | 12.08
| 1 |  |  | 1 |  |  | 1
2011-04-22 | m | 20 |  |  | 4.78 | 8 | y | y | 12.9 | y | y | y | 8.1
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | f | 19 |  | y | 32.1 | 8 | n | n | n/a |  |  | n | 13.4
1
2011-04-22 | m | 21 |  | y | 12 | 8 | n | n | n/a |  |  | n | 13.2
| 1 |  |  | 1
2011-04-22 | m | 23 |  | y | 11.84 | 8 | y fast | y | 17.83 | y | y | y | 10.3
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 19 |  |  | 4.71 | 8 | y fast | n | n/a |  |  | n | 12.2
| 1 | [5 empty] | 1
2011-04-22 | m | 21 |  | y | 5.4 | 8 | y fast | n | n/a |  |  | n | 12.1
| 1 |  |  | 1 |  |  | 1
2011-04-22 | f | 21 |  | y | 17.43 | 8 | y fast | n | 22.2 | n | n | y | 11.21
|  |  |  | 1 |  |  | 1 |  |  |  |  | 1
2011-04-22 | m | 20 |  | y | 11.06 | 8 | n | n | n/a |  |  | n | 9.8
| 1 |  |  | 1
2011-04-22 | m | 18 |  |  | 6.59 | 8 | y | y | 17 | y | y | y | 11.4
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 21 |  |  | 14.19 | 8 | y | y | 20.01 | y | y | y | 11.2
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 18 |  | y | 13.15 | 8 | n | n | n/a |  |  | n | 12.4
| 1 |  |  | 1
2011-04-22 | m | 21 |  |  | 8.62 | 8 | y | y | 16.1 | y | y | y | 6.5
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 21 |  |  | 4.28 | 8 | y fast | n | n/a |  |  | n | 12.8
| 1 | [5 empty] | 1
2011-04-27 | f | 20 |  | y | 21.2 | 8 | y | y | 26.4 | n | n | y | 10.4
|  |  |  | 1 |  |  | 1 | 1 |  |  |  | 1
2011-04-27 | m | 18 |  |  | 12.68 | 8 | n | n | n/a |  |  | n | 15.6
1
2011-04-27 | f | 18 |  | y | 48.46 | 8 | y fast | y | 56.3 | y | y | n | 11.5
|  |  |  | 1 |  |  | 1 | 1 |  | 1 | 1
2011-04-27 | m | 20 |  | y | 21.21 | 8 | y fast | y | 28.4 | y | y | y | 22.4
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-27 | m | 20 |  | y | 12.34 | 8 | y fast | y | 17.4 | y | y | y | 8.1
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-27 | m | 18 |  | y | 11.78 | 8 | y fast | y high | 28.7 | y | y | y | 16.9
| 1 |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-04-27 | m | 21 |  |  | 13.03 | 8 | n | n | n/a |  |  | n | 9.1
1
2011-04-27 | m | 18 |  |  | 18.25 | 8 | y | y | 26 | y | n | y | 13.8
| 1 | [5 empty] | 1 | 1 |  |  |  | 1
2011-04-27 | m | 18 |  |  | 8.59 | 8 | y fast | y | 19.2 | y | y | y | 6.6
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-27 | m | 22 |  |  | 6.5 | 8 | y fast | y | 16.35 | y | y | y | 5.2
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-27 | f | 20 |  |  | 6.53 | 8 | y fast | y high | 18.4 | n | n | y | 14.8
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-27 | m | 21 |  |  | 5.93 | 8 | y | y | 15.2 | y | y | y
| 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
Sum | 51 |  | 1 | 30 |  |  | 52 | 41 |  | 32 | 33 | 43
|  | 19.5312 |  |  | 15.1467 |  |  |  | 23.0987 |  |  |  | 12.1592

## WPI '11 Trial 2
Date: mm/dd/yy | Sex: M/F | Age: | back to fire: y/n | Read label: y/n | Time to start: sec | Distance: ft. | Sweep: y/n | At the base: y/n | Time to finish: sec | Continued after fire done: y/n | fire re-ignite: y/n | fire extinguished: y/n | time of extinguishment: sec
2011-04-20 | m | 18 |  |  | 3.78 | 8 | y | y | 7.1 | n | n | y
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-20 | m | 19 |  |  | 6.56 | 8 | y | y | 9.1 | n | n | y | 9.1
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-20 | f | 19 |  |  | 8.4 | 8 | y | y | 14.6 | n | n | y | 4.35
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-20 | m | 19 |  |  | 5.1 | 8 | y | y | 7.4 | n | n | y | 5.92
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-20 | m | 19 |  |  | 17.34 | 8 | y | y | 24.6 |  | y | y | 2.79
[7 empty] | 1 | 1 |  |  | 1 | 1
2011-04-20 | m | 19 |  |  | 6.3 | 8 | y | y | 17.6 |  |  | y | 3.27
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-20 | m | 18 |  |  | 4.8 | 8 | y | y | 7.1 | y | y | y | 7.55
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | m | 19 |  |  | 7.68 | 8 | y | y | 11.5 | y | n | y | 7.68
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-20 | m | 19 |  |  | 7.2 | 8 | y | y | 15.1 | n | n | y | 4.99
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-20 | m | 18 |  |  | 9.78 | 8 | y | n | n/a |  |  | n
1
2011-04-20 | m | 18 |  |  | 9.03 | 8 | y | y | 15.4 | n | y slightly but went out??! | y | 15.4
[7 empty] | 1 | 1 |  |  | 1 | 1
2011-04-20 | m | 19 |  |  | 5.43 | 8 | y | y | 9.3 | y | n | y | 7.41
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-20 | m | 20 |  |  | 9.12 | 8 | y | y | 15.3 | y | n | y | 6.7
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-20 | m | 18 |  |  | 5.93 | 8 | y | y | 7.2 | y | n | y | 10.07
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-20 | m | 20 |  |  | 7.3 | 8 | y | y | 16.2 | y | y | y
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | m | 19 |  |  | 5.9 | 8 | y | y | 9.1 | y | n | y | 6.91
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-20 | m | 19 |  |  | 6.5 | 8 | y | y | 14.1 | y | y | y | 9.95
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | m | 20 |  |  | 6.15 | 8 | y | y | 9.8 | y | n | y | 6.2
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-20 | m | 20 |  |  | 6.59 | 8 | y | y | 14.1 | y | y | y | 5.83
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-20 | f | 21 |  |  | 17.65 | 8 | y | y | 23.4 | y | n | y | 3.17
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-20 | f | 21 |  | y | 10.25 | 8 | y | y | 17.1 | y | n | y | 6.1
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 21 |  |  | 5.59 | 8 | y | y | 12.1 | y | n | y | 12.27
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | f | 20 |  |  | 7.28 | 8 | y | y | 12.7 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | f | 19 |  |  | 9.4 | 8 | y | y | 12.9 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | f | 19 |  |  | 6.2 | 8 | y | y | 8.3 | y | n | y | 10.021
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 19 |  |  | 8.37 | 8 | y | y | 16.1 | y | n | y | 7.59
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 20 |  |  | 3.96 | 8 | y | y | 7.9 | y | n | y | 3.65
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 20 |  |  | 4.25 | 8 | y fast | y | 8.9 | y | y | y | 6.31
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 19 |  |  | 5.65 | 8 | y | y | 7.9 | y | n | y | 13.47
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | f | 19 |  |  | 6.37 | 8 | y | y started high | 14 | y | y | y | 4.65
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 20 |  |  | 6.46 | 8 | y | y | 13.4 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | f | 20 |  |  | 6.97 | 8 | y | y | 14 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 19 |  |  | 4.28 | 8 | y | y | 7.5 | n | n | y | 7.46
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-22 | m | 18 |  |  | 15.37 | 8 | y | y | 22.8 | y | n | y | 10.7
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 19 |  |  | 3.96 | 8 | y | y | 7.8 | y | n | y | 9.75
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 19 |  |  | 5 | 8 | y | y | 9.4 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 18 |  |  | 5.5 | 8 | y | y | 14.4 | y | y | y | 10.47
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 19 |  |  | 5.65 | 8 | y | y | 11.6 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 23 |  |  | 6.06 | 8 | y | y | 12.08 | n | n | y | 8.12
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-22 | m | 20 |  |  | 4.36 | 8 | y | y | 8.1 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | f | 19 |  |  | 4.96 | 8 | y fast | y | 13.4 | y | y | y
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 21 |  |  | 6.4 | 8 | y fast | y | 13.2 | y | n | y | 5.99
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 23 |  |  | 4.53 | 8 | y | y | 10.3 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 19 |  |  | 5.73 | 8 | y | y | 12.2 | y | y | y
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | m | 21 |  |  | 2.68 | 8 | y | y | 12.1 | y | y | y | 4.77
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-22 | f | 21 |  |  | 6.25 | 8 | y | y | 11.21 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 20 |  |  | 4.4 | 8 | y | y | 9.8 | y | n | y | 10.41
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 18 |  |  | 5.03 | 8 | y | y | 11.4 | y | n | y | 5.82
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 21 |  |  | 5.78 | 8 | y | y | 11.2 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 18 |  |  | 6.06 | 8 | y | y | 12.4 | y | n | y | 7.48
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 21 |  |  | 3.96 | 8 | y | y | 6.5 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-22 | m | 21 |  |  | 4.3 | 8 | y | y | 12.8 | y | n | y | 5.2
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-27 | f | 20 |  |  | 5.06 | 8 | y | y | 10.4 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-27 | m | 18 |  |  | 6.53 | 8 | y fast | y | 15.6 | y | y | y | 7.84
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-27 | f | 18 |  |  | 9.03 | 8 | y | y | 11.5 | y | n | y | 7.19
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-27 | m | 20 |  |  | 6.31 | 8 | y | y | 22.4 | y | n | y | 5.06
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-27 | m | 20 |  |  | 5.25 | 8 | y | y | 8.1 | y | n | y | 16.92
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-27 | m | 18 |  |  | 3.18 | 8 | y | y | 16.9 | y | y | y
[7 empty] | 1 | 1 |  | 1 | 1 | 1
2011-04-27 | m | 21 |  |  | 4.99 | 8 | y | y | 9.1 | y | n | y | 7.75
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-27 | m | 18 |  |  | 7.93 | 8 | y | y | 13.8 | n | n | y | 10.61
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-27 | m | 18 |  |  | 4.46 | 8 | y | y | 6.6 | y | n | y | 9.85
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-27 | m | 22 |  |  | 3.5 | 8 | y | y | 5.2 | y | n | y | 11.87
[7 empty] | 1 | 1 |  | 1 |  | 1
2011-04-27 | f | 20 |  |  | 5.03 | 8 | y | y high | 14.8 | n | n | y | 9.27
[7 empty] | 1 | 1 |  |  |  | 1
2011-04-27 | m | 21 |  |  | 4.87 | 8 | y | y | 7.3 | y | n | y
[7 empty] | 1 | 1 |  | 1 |  | 1
Averages |  | 19.5312 |  |  | 6.4639 | 8 |  |  | 12.1459 |  |  |  | 8.5367
|  |  | 0 | 1 |  |  | 64 | 63 |  | 51 | 14 | 63

## EKU Trial 1
| Date: mm/dd/yy | Sex: M/F | Age: | back to fire: y/n | Read label: y/n | Time to start: sec | Distance: ft. | Sweep: y/n | At the base: y/n | Time to finish: sec | Continued after fire done: y/n | fire re-ignite: y/n | fire extinguished: y/n | time of extinguishment: sec
2011-05-11 | 1A | M |  | N | N | 6.3 | 8 | Y | Y | 11.2 | N | N | Y | 4.9 | 1= M or Yes
2011-05-11 |  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 0 | 0 | 1 |  | 0= F or No
2011-05-11 | 2A | F |  | N | N | 7.2 | 8 | N | Y | 17.1 | N | N | Y | 9.9
|  | 0 |  | 0 | 0 |  |  | 0 | 1 |  | 0 | 0 | 1
2011-05-11 | 3A | M |  | N | N | 8.4 | 8 | Y | Y | 10.2 | N | N | Y | 1.8
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 0 | 0 | 1
2011-05-11 | 4A | M |  | N | N | 8.2 | 8 | Y | Y | 16.6 | N | N | Y | 8.4
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 0 | 0 | 1
2011-05-11 | 5A | F |  | N | Y | 30.7 | 8 | Y | Y | 45.6 | N | N | Y | 14.9
|  | 0 |  | 0 | 1 |  |  | 1 | 1 |  | 0 | 0 | 1
2011-05-11 | 6A | F |  | N | N | 18 | 8 | N | N | 22.8 | N | N | Y | 4.8
|  | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 1
2011-05-11 | 7A | F |  | N | N | 9.5 | 8 | Y | Y | 57.8 | N | Y | N | 48.3
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 0 | 1 | 0
2011-05-11 | 8A | F |  | N | Y | 22 | 8 | Y | Y | 27 | Y | N | Y | 5
|  | 0 |  | 0 | 1 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-11 | 9A | M |  | N | N | 7.3 | 8 | Y | N | IC | Y | Y | N | IC
|  | 1 |  | 0 | 0 |  |  | 1 | 0 |  | 1 | 1 | 0
2011-05-11 | 10A | M |  | N | N | 5.6 | 8 | Y | Y | 13.4 | Y | Y | Y | 7.8
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-11 | 11A | M |  | N | N | 10.5 | 8 | N | Y | 14.3 | N | N | Y | 3.8
|  | 1 |  | 0 | 0 |  |  | 0 | 1 |  | 0 | 0 | 1
2011-05-12 | 12A | F |  | N | N | 11.3 | 8 | Y | Y | 26.3 | Y | Y | Y | 15
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-12 | 13A | F |  | N | N | 15.7 | 8 | N | N | IC | N | N | N | IC
|  | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
2011-05-12 | 14A | F |  | N | N | 41.1 | 8 | Y | Y | 46.4 | Y | N | Y | 5.3
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-12 | 15A | M |  | N | N | 9.2 | 8 | Y | Y | 37.5 | Y | Y | Y | 28.3
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-12 | 16A | F |  | N | Y | 54.1 | 8 | Y | Y | 69.8 | N | Y | Y | 15.7
|  | 0 |  | 0 | 1 |  |  | 1 | 1 |  | 0 | 1 | 1
2011-05-12 | 17A | M |  | N | N | 7.8 | 8 | Y | Y | IC | N | N | N | IC
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 0 | 0 | 0
2011-05-12 | 18A | F |  | N | N | 11.3 | 8 | Y | Y | IC | N | N | N | IC
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 0 | 0 | 0
2011-05-12 | 19A | M |  | N | N | 15.9 | 8 | Y | Y | 20.7 | Y | N | Y | 4.8
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-12 | 20A | F |  | N | N | 16.3 | 8 | Y | Y | 29.3 | Y | Y | Y | 13
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-23 | 21A | M |  | N | N | 3 | 8 | Y | N | IC | Y | N | N | IC
|  | 1 |  | 0 | 0 |  |  | 1 | 0 |  | 1 | 0 | 0
2011-05-23 | 22A | M |  | N | Y | 5.6 | 8 | Y | Y | 7.8 | Y | N | Y | 2.2
|  | 1 |  | 0 | 1 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-23 | 23A | F |  | N | N | 14.7 | 8 | Y | Y | IC | Y | N | N | IC
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 0 | 0
2011-05-23 | 24A | F |  | N | N | 5.3 | 8 | Y | Y | 11.5 | Y | N | Y | 6.2
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-23 | 25A | M |  | N | N | 7.39 | 8 | N | N | 16.6 | N | N | Y | 9.21
|  | 1 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 1
2011-05-23 | 26A | M |  | N | N | 6.8 | 8 | N | Y | 10.7 | N | N | Y | 3.9
|  | 1 |  | 0 | 0 |  |  | 0 | 1 |  | 0 | 0 | 1
2011-05-23 | 27A | M |  | N | Y | 5.6 | 8 | Y | Y | 14.8 | N | N | Y | 9.2
|  | 1 |  | 0 | 1 |  |  | 1 | 1 |  | 0 | 0 | 1
2011-05-23 | 28A | M |  | N | N | 5.67 | 8 | N | Y | 11.9 | N | N | Y | 6.23
|  | 1 |  | 0 | 0 |  |  | 0 | 1 |  | 0 | 0 | 1
2011-05-23 | 29A | F |  | N | N | 4.9 | 8 | N | N | IC | N | N | N | IC
|  | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
2011-05-23 | 30A | M |  | N | N | 8.86 | 8 | Y | Y | 15.3 | Y | Y | Y | 6.44
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-23 | 31A | M |  | N | N | 4.86 | 8 | N | N | IC | N | N | N | IC
|  | 1 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
2011-05-23 | 32A | F |  | N | Y | 43.5 | 8 | N | Y | 46.8 | N | N | Y | 3.3
|  | 0 |  | 0 | 1 |  |  | 0 | 1 |  | 0 | 0 | 1
2011-05-23 | 33A | M |  | N | Y | 10.5 | 8 | Y | Y | 13.1 | N | N | Y | 2.6
|  | 1 |  | 0 | 1 |  |  | 1 | 1 |  | 0 | 0 | 1
2011-05-23 | 34A | M |  | N | Y | 13.4 | 8 | N | Y | 15.3 | N | N | Y | 1.9
|  | 1 |  | 0 | 1 |  |  | 0 | 1 |  | 0 | 0 | 1
2011-05-23 | 35A | M |  | N | N | 5.1 | 8 | N | N | IC | N | N | N | IC
|  | 1 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
2011-05-24 | 36A | M | 43 | N | N | 11.3 | 8 | Y | Y | 20.1 | Y | Y | Y | 8.8
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-24 | 37A | M | 59 | N | N | 6.2 | 8 | Y | Y | IC | N | N | N | IC
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 0 | 0 | 0
2011-05-24 | 38A | F | 48 | N | N | 8.9 | 8 | N | N | IC | N | N | N | IC
|  | 0 |  | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 | 0
2011-05-24 | 39A | F | 33 | N | N | 17.1 | 8 | Y | Y | 20.2 | Y | N | Y | 3.1
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-24 | 40A | F | 46 | N | Y | 26.8 | 8 | Y | N | IC | N | N | N | IC
|  | 0 |  | 0 | 1 |  |  | 1 | 0 |  | 0 | 0 | 0
2011-05-24 | 41A | F | 38 | N | Y | 7.5 | 8 | Y | Y | 10.5 | Y | N | Y | 3
|  | 0 |  | 0 | 1 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-24 | 42A | F | 62 | N | N | 16.4 | 8 | Y | Y | 25.6 | Y | N | Y | 9.2
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-24 | 43A | M | 30 | N | N | 3.5 | 8 | Y | Y | 11.7 | Y | N | Y | 8.2
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-24 | 44A | F | 60 | N | N | 9.4 | 8 | Y | Y | 11.9 | Y | N | Y | 2.5
|  | 0 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 0 | 1
2011-05-24 | 45A | M | 28 | N | N | 9.9 | 8 | Y | Y | IC | N | Y | N | IC
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 0 | 1 | 0
2011-05-24 | 46A | M | 36 | N | Y | 11.2 | 8 | Y | Y | 19 | Y | Y | Y | 7.8
|  | 1 |  | 0 | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-24 | 47A | F | 40 | N | Y | 24.96 | 8 | Y | Y | IC | Y | Y | Y | IC
|  | 0 |  | 0 | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-24 | 48A | M | 35 | N | N | 16.35 | 8 | Y | Y | 26.5 | Y | Y | Y | 10.15
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-24 | 49A | M | 54 | Y | N | 6.43 | 8 | Y | Y | IC | Y | Y | N | IC | JUST TURNED AND LEFT
|  | 1 |  | 1 | 0 |  |  | 1 | 1 |  | 1 | 1 | 0
2011-05-24 | 50A | F | 34 | N | N | 6.23 | 8 | Y | N | IC | Y | N | N | IC
|  | 0 |  | 0 | 0 |  |  | 1 | 0 |  | 1 | 0 | 0
2011-05-24 | 51A | F | 39 | N | N | 10.51 | 8 | Y | N | IC | N | Y | N | IC
|  | 0 |  | 0 | 0 |  |  | 1 | 0 |  | 0 | 1 | 0
2011-05-24 | 52A | M | 27 | N | N | 8.7 | 8 | Y | Y | 28 | Y | Y | N | 19.3
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 0
2011-05-24 | 53A | M | 39 | N | N | 11.8 | 8 | Y | Y | 32.8 | Y | Y | Y | 21
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-24 | 54A | M | 33 | N | N | 9.6 | 8 | Y | Y | 28.8 | Y | Y | Y | 19.2
|  | 1 |  | 0 | 0 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-24 | 55A | F | 43 | N | Y | 22.3 | 8 | Y | Y | IC | N | Y | N | IC | DIDN’T DEPLOY THE HOSE
|  | 0 |  | 0 | 1 |  |  | 1 | 1 |  | 0 | 1 | 0
2011-05-24 | 56A | F | 34 | N | Y | 32.3 | 8 | Y | Y | IC | N | N | N | IC | DIDN’T PULL PIN
|  | 0 |  | 0 | 1 |  |  | 1 | 1 |  | 0 | 0 | 0
2011-05-24 | 57A | M | 23 | N | Y | 8.9 | 8 | Y | Y | 14.7 | Y | Y | Y | 5.8 | DIDN’T DEPLOY THE HOSE
|  | 1 |  | 0 | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2011-05-24 | 58A | M | 39 | N | N | 6.1 | 8 | Y | Y | 19.5 | N | Y | Y | 13.4 | CROSSED LINE
|  | 1 | [5 empty] | 1 | 1 |  |  | 1 | 1
2011-05-24 | 59A | F | 47 | N | N | 24.9 | 8 | Y | Y | 29.1 | Y | Y | Y | 4.2
[8 empty] | 1 | 1 |  | 1 | 1 | 1
2011-05-24 | 60A | F | 60 | N | N | 6.6 | 8 | N | Y | IC | N | Y | N | IC | WALKED AWAY EARLY
[9 empty] | 1 |  |  | 1
2011-05-24 | 61A | F | 38 | N | N | 12.9 | 8 | Y | Y | 17.7 | Y | N | Y | 4.8
[8 empty] | 1 | 1 |  | 1 |  | 1
2011-05-24 | 62A | F | 26 | N | Y | 14.6 | 8 | Y | N | IC | N | N | N | IC
[5 empty] | 1 |  |  | 1
2011-05-24 | 63A | M | 40 | N | N | 16.57 | 8 | Y | N | 29.9 | Y | Y | Y | 13.33
|  | 1 | [5 empty] | 1 |  |  | 1 | 1 | 1
| 64A | F | 24 | N | Y | 11.2 | 8 | Y | N | IC | N | N | N | IC | RAN OUT
[5 empty] | 1 |  |  | 1
| 65A | M | 26 | N | Y | 3.7 |  | Y | Y | 7.5 | Y | N | Y | 3.8
|  | 1 |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
| 66A | M | 25 | N | Y | 5.6 |  | Y | Y | 30.8 | N | Y | N | 25.2
|  | 1 |  |  | 1 |  |  | 1 | 1 |  |  | 1
| 67A | F | 38 | N | N | 3.9 |  | Y | Y | 9.5 | Y | N | Y | 5.6
[8 empty] | 1 | 1 |  | 1 |  | 1
| 68A | M | 46 | N | N | 5.5 |  | Y | Y | IC | Y | Y | N | IC
|  | 1 | [5 empty] | 1 | 1 |  | 1 | 1
| 69A | M | 37 | N | N | 4.1 |  | Y | Y | 11.8 | Y | N | Y | 7.7
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 70A | F | 26 | Y | Y | 59.5 |  | Y | Y | 69.6 | N | N | Y | 10.1
|  |  |  | 1 | 1 |  |  | 1 | 1 |  |  |  | 1
| 71A | M | 23 | N | N | 13.1 |  | Y | Y | 18.3 | Y | N | Y | 5.2
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 72A | F | 24 | N | N | 13.19 |  | Y | Y | 25.3 | N | Y | Y | 12.11
[8 empty] | 1 | 1 |  |  | 1 | 1
| 73A | M | 29 | N | N | 6.8 |  | Y | Y | 50.1 | N | Y | N | 43.3
|  | 1 | [5 empty] | 1 | 1 |  |  | 1
| 74A | M | 28 | N | N | 14.8 |  | Y | Y | 28.2 | Y | Y | Y | 13.4
|  | 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
| 75A | M | 41 | N | N | 6.3 |  | Y | Y | 8.1 | Y | N | Y | 1.8
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 76A | F | 47 | N | N | 7.7 |  | Y | Y | 45 | Y | N | Y | 37.3
[8 empty] | 1 | 1 |  | 1 |  | 1
| 77A | M | 25 | N | N | 9.3 |  | Y | Y | 13.7 | Y | N | Y | 4.4
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 78A | F | 20 | N | N | 15.02 |  | Y | Y | 18.5 | Y | N | Y | 3.48
[8 empty] | 1 | 1 |  | 1 |  | 1
| 79A | M | 46 | N | N | 7.2 |  | Y | Y | 11.4 | Y | N | Y | 4.2
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 80A | F | 40 | N | N | 10.12 |  | Y | Y | 14.1 | Y | N | Y | 3.98
[8 empty] | 1 | 1 |  | 1 |  | 1
| 81A | M | 34 | N | N | 6.37 |  | Y | Y | 10.2 | Y | N | Y | 3.83
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 82A | F | 42 | N | N | 12.49 |  | Y | Y | 20.2 | Y | N | Y | 7.71
[8 empty] | 1 | 1 |  | 1 |  | 1
| 83A | M | 31 | N | N | 3.85 |  | Y | Y | 10.9 | Y | N | Y | 7.05
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 84A | M | 49 | N | N | 6.1 |  | Y | Y | 14.6 | N | Y | N | 8.5
|  | 1 | [5 empty] | 1 | 1 |  |  | 1
| 85A | M | 76 | N | N | 4.5 |  | Y | Y | 14.7 | Y | N | Y | 10.2
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 86A | F | 39 | N | N | 15.7 |  | Y | Y | 21.8 | Y | N | Y | 6.1
[8 empty] | 1 | 1 |  | 1 |  | 1
| 87A | F | 47 | N | N | 23.3 |  | Y | Y | 32.2 | N | Y | Y | 8.9
[8 empty] | 1 | 1 |  |  | 1 | 1
| 88A | M | 25 | N | N | 7 |  | Y | Y | 9.6 | Y | N | Y | 2.6
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 89A | M | 45 | N | N | 34.3 |  | Y | Y | 38.4 | Y | N | Y | 4.1
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 90A | M | 28 | N | N | 9.2 |  | Y | Y | 12.7 | Y | N | Y | 3.5
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 91A | F | 25 | N | N | 9.6 |  | Y | Y | 19.7 | N | Y | Y | 10.1
[8 empty] | 1 | 1 |  |  | 1 | 1
| 92A | M | 38 | N | N | 16.36 |  | Y | Y | 21 | Y | N | Y | 4.64
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 93A | M | 38 | N | N | 4.6 |  | Y | Y | 11.2 | Y | N | Y | 6.6
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 94A | M | 43 | N | N | 9.4 |  | Y | Y | 19.4 | Y | N | Y | 10
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 95A | F | 38 | N | N | 9.1 |  | Y | Y | 12.8 | Y | N | Y | 3.7
[8 empty] | 1 | 1 |  | 1 |  | 1
| 96A | M | 25 | N | N | 7.6 |  | Y | Y | 10.2 | Y | N | Y | 2.6
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 97A | F | 22 | N | N | 7.4 |  | Y | Y | 11.6 | Y | N | Y | 4.2
[8 empty] | 1 | 1 |  | 1 |  | 1
| 98A | F | 50 | N | N | 9.9 |  | Y | Y | 12.2 | Y | N | Y | 2.3
[8 empty] | 1 | 1 |  | 1 |  | 1
| 99A | M | 41 | N | N | 9.4 |  | Y | Y | 38.6 | N | Y | N | 29.2
|  | 1 | [5 empty] | 1 | 1 |  |  | 1
| 100A | M | 34 | N | N | 6.03 |  | Y | Y | 9.7 | Y | N | Y | 3.67
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 101A | M | 22 | N | N | 7.4 |  | Y | Y | 16.4 | Y | N | Y | 9
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 102A | M | 30 | N | N | 10.9 |  | Y | Y | 14.3 | Y | N | Y | 3.4
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 103A | F | 48 | N | N | 9.14 |  | Y | Y | 23.07 | N | Y | Y | 13.93
[8 empty] | 1 | 1 |  |  | 1 | 1
| 104A | M | 20 | N | N | 9.9 |  | Y | Y | 12.7 | Y | N | Y | 2.8
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 105A | M | 50 | N | N | 7.4 |  | Y | Y | 21.2 | N | N | N | 13.8
|  | 1 | [5 empty] | 1 | 1
| 106A | M | 35 | N | N | 7.7 |  | Y | Y | 12.5 | Y | N | Y | 4.8
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 107A | F | 32 | N | N | 6.8 |  | Y | Y | 48 | N | Y | N | 41.2
[8 empty] | 1 | 1 |  |  | 1
| 108A | M | 25 | N | N | 10.54 |  | Y | Y | 15.3 | N | Y | Y | 4.76
|  | 1 | [5 empty] | 1 | 1 |  |  | 1 | 1
| 109A | M | 29 | Y | N | 11.6 |  | Y | Y | 23.4 | N | Y | Y | 11.8
|  | 1 |  | 1 |  |  |  | 1 | 1 |  |  | 1 | 1
| 110A | M | 24 | N | N | 8.71 |  | Y | Y | 14.6 | Y | Y | Y | 5.89
|  | 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
| 111A | M | 52 | N | N | 11.6 |  | Y | Y | 24.8 | N | Y | Y | 13.2
|  | 1 | [5 empty] | 1 | 1 |  |  | 1 | 1
| 112A | M | 25 | N | N | 7.83 |  | Y | Y | 11.7 | N | Y | Y | 3.87
|  | 1 | [5 empty] | 1 | 1 |  |  | 1 | 1
| 113A | M | 36 | N | N | 11.79 |  | Y | Y | 16.6 | Y | N | Y | 4.81
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 114A | M | 40 | Y | N | 16.43 |  | Y | Y | 19.9 | N | N | Y | 3.47
|  | 1 |  | 1 |  |  |  | 1 | 1 |  |  |  | 1
| 115A | M | 34 | Y | N | 7.7 |  | Y | Y | 21.7 | N | Y | Y | 14
|  | 1 |  | 1 |  |  |  | 1 | 1 |  |  | 1 | 1
| 116A | M | 29 | N | N | 9.3 |  | Y | Y | 13.1 | Y | Y | Y | 3.8
|  | 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
| 117A | M | 20 | N | N | 7.3 |  | Y | Y | 11.7 | Y | N | Y | 4.4
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 118A | M | 24 | Y | N | 5.9 |  | Y | Y | 26.8 | N | Y | Y | 20.9
|  |  |  | 1 |  |  |  | 1 | 1 |  |  | 1 | 1
| 119A | M | 34 | Y | N | 6.43 |  | Y | Y | 26.2 | Y | Y | Y | 19.77
|  | 1 |  | 1 |  |  |  | 1 | 1 |  | 1 | 1 | 1
| 120A | M | 39 | N | N | 10.8 |  | Y | Y | 13.5 | Y | Y | Y | 2.7
|  | 1 | [5 empty] | 1 | 1 |  | 1 | 1 | 1
| 121A | M | 50 | N | N | 10.3 |  | Y | Y | 19.7 | N | Y | Y | 9.4
|  | 1 | [5 empty] | 1 | 1 |  |  | 1 | 1
| 122A | F | 29 | N | N | 9.7 |  | Y | Y | 14.3 | Y | N | Y | 4.6
[8 empty] | 1 | 1 |  | 1 |  | 1
| 123A | F | 32 | N | N | 5.44 |  | Y | Y | 17.1 | N | Y | Y | 11.66
[8 empty] | 1 | 1 |  |  | 1 | 1
| 124A | M | 22 | N | N | 5.89 |  | Y | Y | 11.2 | Y | N | Y | 5.31
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 125A | M | 27 | N | N | 6.3 |  | Y | Y | 14.6 | N | Y | N | 8.3
|  | 1 | [5 empty] | 1 | 1 |  |  | 1
| 126A | M | 26 | N | N | 4.7 |  | Y | Y | 7.3 | Y | N | Y | 2.6
|  | 1 | [5 empty] | 1 | 1 |  | 1 |  | 1
| 127A | M | 30 | N | N | 8.6 |  | Y | Y | 10.8 | N | Y | Y | 2.2
|  | 1 | [5 empty] | 1 | 1 |  |  | 1 | 1
Sums |  | 78 |  | 7 | 20 |  |  | 113 | 112 |  | 72 | 49 | 96
Average |  |  | 36.0109 |  |  | 11.6131 |  |  |  | 20.9774 |  |  |  | 9.3126
Total 127

## EKU Trial 2
Trial 2
Date: mm/dd/yy | Sex: M/F | Age: | back to fire: y/n | Read label: y/n | Time to start: sec | Distance: ft. | Sweep: y/n | At the base: y/n | Time to finish: sec | Continued after fire done: y/n | fire re-ignite: y/n | fire extinguished: y/n | time of extinguishment: sec
1B | M |  | N | Y | 5.7 |  | Y | Y | 18.2 | Y | Y | Y | 12.5
|  |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
2B | F |  | N | N | 6.5 | 8 | Y | Y | 11.5 | Y | N | Y | 5
[7 empty] | 1 | 1 |  | 1 |  | 1
3B | M |  | N | Y | 7.5 | 8 | Y | Y | 10.7 | Y | N | Y | 3.2
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
4B | M |  | N | Y | 7.7 | 8 | Y | Y | 12.5 | Y | N | Y | 4.8
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
5B | F |  | N | Y | 6.3 | 8 | Y | Y | 16.8 | Y | N | Y | 10.5
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
6B | F |  | N | Y | 11.6 | 8 | Y | Y | 17.9 | Y | N | Y | 6.3
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
7B | F |  | N | Y | 12.5 | 8 | Y | Y | 23.5 | Y | N | Y | 11
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
8B | F |  | N | Y | 14.3 | 8 | Y | Y | 25.7 | Y | Y | Y | 11.4
|  |  |  | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
9B | M |  | N | Y | 11.4 | 8 | Y | Y | 14.4 | Y | N | N | 3
|  |  |  | 1 |  |  | 1 | 1 |  | 1
10B | M |  | N | N | 7.3 | 8 | Y | Y | 12.2 | Y | N | Y | 4.9
[7 empty] | 1 | 1 |  | 1 |  | 1
11B | M |  | N | Y | 11.7 | 8 | Y | Y | 17.7 | N | N | Y | 6
|  |  |  | 1 |  |  | 1 | 1 |  |  |  | 1
12B | F |  | N | N | 13.7 | 8 | Y | Y | 20.9 | Y | N | Y | 7.2
[7 empty] | 1 | 1 |  | 1 |  | 1
13B | F |  | N | N | 9.3 | 8 | Y | Y | 13.7 | Y | N | Y | 4.4
[7 empty] | 1 | 1 |  | 1 |  | 1
14B | F |  | N | Y | 9.5 | 8 | Y | Y | 13.1 | N | N | Y | 3.6
|  |  |  | 1 |  |  | 1 | 1 |  |  |  | 1
15B | M |  | N | N | 9.1 | 8 | Y | Y | 13.1 | Y | N | Y | 4
[7 empty] | 1 | 1 |  | 1 |  | 1
16B | F |  | N | Y | 13.5 | 8 | Y | Y | 16.5 | Y | N | Y | 3
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
17B | M |  | N | N | 6.7 | 8 | Y | Y | 17.1 | N | Y | Y | 10.4
[7 empty] | 1 | 1 |  |  | 1 | 1
18B | F |  | N | N | 10.8 | 8 | Y | Y | 21.4 | Y | N | Y | 10.6
[7 empty] | 1 | 1 |  | 1 |  | 1
19B | M |  | N | N | 8.7 | 8 | Y | Y | 14.8 | Y | N | Y | 6.1
[7 empty] | 1 | 1 |  | 1 |  | 1
20B | F |  | N | N | 6.9 | 8 | Y | Y | 11.2 | Y | N | Y | 4.3
[7 empty] | 1 | 1 |  | 1 |  | 1
21B | M |  | N | Y | 9.5 | 8 | Y | N | IC | N | N | N | IC
|  |  |  | 1 |  |  | 1
22B | M |  | N | Y | 11.1 | 8 | Y | Y | 14.5 | Y | N | Y | 3.4
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
23B | F |  | N | Y | 6.6 | 8 | Y | Y | 14.5 | Y | N | N | 7.9
|  |  |  | 1 |  |  | 1 | 1 |  | 1
24B | F |  | N | N | 11.1 | 8 | Y | Y | 24.6 | Y | N | Y | 13.5
[7 empty] | 1 | 1 |  | 1 |  | 1
25B | M |  | N | N | 8.1 | 8 | Y | Y | 11.2 | Y | N | Y | 3.1
[7 empty] | 1 | 1 |  | 1 |  | 1
26B | M |  | Y | Y | 9.7 | 8 | Y | Y | 13.2 | N | N | Y | 3.5
|  |  | 1 | 1 |  |  | 1 | 1 |  |  |  | 1
27B | M |  | N | Y | 12.5 | 8 | Y | Y | 22.9 | N | N | Y | 10.4
|  |  |  | 1 |  |  | 1 | 1 |  |  |  | 1
28B | M |  | N | Y | 8.9 | 8 | Y | Y | 13.1 | N | N | Y | 4.2
|  |  |  | 1 |  |  | 1 | 1 |  |  |  | 1
29B | F |  | N | N | 13.8 | 8 | N | N | 29.8 | N | Y | Y | 16
[11 empty] | 1 | 1
30B | M |  | N | N | 8.9 | 8 | Y | N | 11.3 | N | N | Y | 2.4
[7 empty] | 1 |  |  |  |  | 1
31B | M |  | N | Y | 6.7 | 8 | N | Y | 10.5 | N | N | Y | 3.8
|  |  |  | 1 |  |  |  | 1 |  |  |  | 1
32B | F |  | N | Y | 5.9 | 8 | N | Y | 8.6 | N | N | Y | 2.7
|  |  |  | 1 |  |  |  | 1 |  |  |  | 1
33B | M |  | N | Y | 14.8 | 8 | Y | Y | IC | N | N | N | IC
|  |  |  | 1 |  |  | 1 | 1
34B | M |  | N | Y | 7.2 | 8 | N | Y | 19.7 | N | N | Y | 12.5
|  |  |  | 1 |  |  |  | 1 |  |  |  | 1
35B | M |  | N | Y | 7.1 | 8 | N | N | 9.1 | N | N | Y | 2
|  |  |  | 1 | [7 empty] | 1
36B |  |  | N | N | 7.3 | 8 | Y | Y | 15.7 | Y | N | Y | 8.4
[8 empty] | 1 |  | 1 |  | 1
37B |  |  | N | N | 7.7 | 8 | Y | Y | 11.3 | Y | N | Y | 3.6
[7 empty] | 1 | 1 |  | 1 |  | 1
38B |  |  | N | N | 5.3 | 8 | Y | Y | 9.8 | Y | N | Y | 4.5
[7 empty] | 1 | 1 |  | 1 |  | 1
39B |  |  | N | N | 9.4 | 8 | Y | Y | 12.2 | Y | N | Y | 2.8
[7 empty] | 1 | 1 |  | 1 |  | 1
40B |  |  | N | N | 9.3 | 8 | Y | Y | IC | N | N | N | IC
[7 empty] | 1 | 1
41B |  |  | N | N | 6.6 | 8 | Y | Y | 9.8 | Y | N | Y | 3.2
[7 empty] | 1 | 1 |  | 1 |  | 1
42B |  |  | N | N | 9.7 | 8 | Y | Y | 14.8 | Y | N | Y | 5.1
[7 empty] | 1 | 1 |  | 1 |  | 1
43B |  |  | N | N | 5.8 | 8 | Y | Y | 10.7 | Y | N | Y | 4.9
[7 empty] | 1 | 1 |  | 1 |  | 1
44B |  |  | N | N | 13.7 | 8 | Y | Y | 15.4 | Y | N | Y | 1.7
[7 empty] | 1 | 1 |  | 1 |  | 1
45B |  |  | N | N | 7.1 | 8 | Y | Y | 10.2 | Y | N | Y | 3.1
[7 empty] | 1 | 1 |  | 1 |  | 1
46B |  |  | N | N | 5.96 | 8 | Y | Y | 10.2 | Y | N | Y | 4.24
[7 empty] | 1 | 1 |  | 1 |  | 1
47B |  |  | N | N | 10.3 | 8 | Y | Y | 12.4 | Y | N | Y | 2.1
[7 empty] | 1 | 1 |  | 1 |  | 1
48B |  |  | N | N | 4.94 | 8 | Y | Y | 8.5 | Y | N | Y | 3.56
[7 empty] | 1 | 1 |  | 1 |  | 1
49B |  |  | N | N | 6.63 | 8 | Y | Y | 9.7 | Y | N | Y | 3.07
[7 empty] | 1 | 1 |  | 1 |  | 1
50B |  |  | N | N | 8.65 | 8 | Y | Y | 13.2 | Y | N | Y | 4.55
[7 empty] | 1 | 1 |  | 1 |  | 1
51B |  |  | N | N | 7.66 | 8 | Y | Y | 11.5 | Y | N | Y | 3.84
[7 empty] | 1 | 1 |  | 1 |  | 1
52B |  |  | N | N | 3.5 | 8 | Y | Y | 6.6 | Y | N | Y | 3.1
[7 empty] | 1 | 1 |  | 1 |  | 1
53B |  |  | N | N | 6.6 | 8 | Y | Y | 14.6 | Y | N | Y | 8
[7 empty] | 1 | 1 |  | 1 |  | 1
54B |  |  | N | N | 5.49 | 8 | Y | Y | 16.5 | Y | N | Y | 11.01
[7 empty] | 1 | 1 |  | 1 |  | 1
55B |  |  | N | N | 5.6 | 8 | Y | Y | 20.2 | Y | Y | Y | 14.6
[7 empty] | 1 | 1 |  | 1 | 1 | 1
56B |  |  | N | N | 4.8 | 8 | Y | Y | 16.2 | Y | N | Y | 11.4
[7 empty] | 1 | 1 |  | 1 |  | 1
57B |  |  | N | N | 4.35 | 8 | Y | Y | 17.7 | Y | N | Y | 13.35
[7 empty] | 1 | 1 |  | 1 |  | 1
58B |  |  | N | N | 4.41 | 8 | Y | Y | 13.1 | Y | Y | Y | 8.69
[7 empty] | 1 | 1 |  | 1 | 1 | 1
59B |  |  | N | N | 9.1 | 8 | Y | Y | 20.4 | Y | N | Y | 11.3
[7 empty] | 1 | 1 |  | 1 |  | 1
60B |  |  | N | N | 7.2 | 8 | Y | Y | 16.8 | Y | N | Y | 9.6
[7 empty] | 1 | 1 |  | 1 |  | 1
61B |  |  | N | N | 6.9 | 8 | Y | N | IC | N | N | N | IC
1
62B |  |  | N | Y | 18.72 | 8 | Y | Y | 25.1 | Y | N | Y | 6.38
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
63B |  |  | N | Y | 9.38 | 8 | Y | Y | 12.2 | Y | N | Y | 2.82
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
64B |  |  | N | N | 7.2 | 8 | Y | Y | 14.2 | Y | N | Y | 7
[7 empty] | 1 | 1 |  | 1 |  | 1
65B |  |  | N | N | 4.63 |  | Y | Y | 7.5 | Y | N | Y | 2.87
[7 empty] | 1 | 1 |  | 1 |  | 1
66B |  |  | N | N | 4.5 |  | Y | Y | 11.5 | Y | N | Y | 7
[7 empty] | 1 | 1 |  | 1 |  | 1
67B |  |  | N | N | 7.21 |  | Y | Y | 9.9 | Y | N | Y | 2.69
[7 empty] | 1 | 1 |  | 1 |  | 1
68B |  |  | N | N | 8.9 |  | Y | Y | 12.1 | Y | N | Y | 3.2
[7 empty] | 1 | 1 |  | 1 |  | 1
69B |  |  | N | N | 9.2 |  | Y | Y | 13.2 | Y | N | Y | 4
[7 empty] | 1 | 1 |  | 1 |  | 1
70B |  |  | Y | Y | 10.2 |  | Y | Y | 32.8 | Y | Y | Y | 22.6
|  |  | 1 | 1 |  |  | 1 | 1 |  | 1 | 1 | 1
71B |  |  | N | N | 6.6 |  | Y | Y | 9.8 | Y | N | Y | 3.2
[7 empty] | 1 | 1 |  | 1 |  | 1
72B |  |  | N | N | 6.07 |  | Y | Y | 10.1 | Y | N | Y | 4.03
[7 empty] | 1 | 1 |  | 1 |  | 1
73B |  |  | N | N | 6.1 |  | Y | Y | 32.6 | N | Y | N | 26.5
[7 empty] | 1 | 1 |  |  | 1
74B |  |  | N | N | 8.1 |  | Y | Y | 10.5 | Y | N | Y | 2.4
[7 empty] | 1 | 1 |  | 1 |  | 1
75B |  |  | N | N | 6.3 |  | Y | Y | 11.2 | Y | N | Y | 4.9
[7 empty] | 1 | 1 |  | 1 |  | 1
76B |  |  | N | N | 6.9 |  | Y | Y | 9.7 | Y | N | Y | 2.8
[7 empty] | 1 | 1 |  | 1 |  | 1
77B |  |  | N | N | 8.3 |  | Y | Y | 13.2 | Y | N | Y | 4.9
[7 empty] | 1 | 1 |  | 1 |  | 1
78B |  |  | N | N | 5.5 |  | Y | Y | 9.1 | Y | N | Y | 3.6
[7 empty] | 1 | 1 |  | 1 |  | 1
79B |  |  | N | N | 5.5 |  | Y | Y | 9.2 | Y | N | Y | 3.7
[7 empty] | 1 | 1 |  | 1 |  | 1
80B |  |  | N | N | 5.4 |  | Y | Y | 9.1 | Y | N | Y | 3.7
[7 empty] | 1 | 1 |  | 1 |  | 1
81B |  |  | N | N | 6.4 |  | Y | Y | 9.1 | Y | N | Y | 2.7
[7 empty] | 1 | 1 |  | 1 |  | 1
82B |  |  | N | N | 6.5 |  | Y | Y | 10.8 | Y | N | Y | 4.3
[7 empty] | 1 | 1 |  | 1 |  | 1
83B |  |  | N | N | 4.66 |  | Y | Y | IC | N | Y | N | IC
[7 empty] | 1 | 1 |  |  | 1
84B |  |  | N | N | 5.7 |  | Y | Y | 12.6 | Y | N | Y | 6.9
[7 empty] | 1 | 1 |  | 1 |  | 1
85B |  |  | N | N | 3.3 |  | Y | Y | 7.5 | Y | N | Y | 4.2
[7 empty] | 1 | 1 |  | 1 |  | 1
86B |  |  | N | N | 13.08 |  | Y | Y | 25.4 | Y | N | Y | 12.32
[7 empty] | 1 | 1 |  | 1 |  | 1
87B |  |  | N | N | 9.2 |  | Y | Y | 12.5 | Y | N | Y | 3.3
[7 empty] | 1 | 1 |  | 1 |  | 1
88B |  |  | N | N | 6.1 |  | Y | Y | 8.7 | Y | N | Y | 2.6
[7 empty] | 1 | 1 |  | 1 |  | 1
89B |  |  | N | N | 10.8 |  | Y | Y | 14.06 | Y | N | Y | 3.26
[7 empty] | 1 | 1 |  | 1 |  | 1
90B |  |  | N | N | 6.9 |  | Y | Y | 9.5 | Y | N | Y | 2.6
[7 empty] | 1 | 1 |  | 1 |  | 1
91B |  |  | N | N | 5.2 |  | Y | Y | 11.1 | Y | Y | Y | 5.9
[7 empty] | 1 | 1 |  | 1 | 1 | 1
92B |  |  | N | N | 8.7 |  | Y | Y | 16.8 | Y | N | Y | 8.1
[7 empty] | 1 | 1 |  | 1 |  | 1
93B |  |  | N | N | 5.6 |  | Y | Y | 10 | Y | N | Y | 4.4
[7 empty] | 1 | 1 |  | 1 |  | 1
94B |  |  | N | N | 5.3 |  | Y | Y | 14.1 | N | Y | Y | 8.8
[7 empty] | 1 | 1 |  |  | 1 | 1
95B |  |  | N | N | 5.2 |  | Y | Y | 9 | Y | N | Y | 3.8
[7 empty] | 1 | 1 |  | 1 |  | 1
96B |  |  | N | N | 6.3 |  | Y | Y | 10.8 | Y | N | Y | 4.5
[7 empty] | 1 | 1 |  | 1 |  | 1
97B |  |  | N | N | 5.4 |  | Y | Y | 8.7 | Y | N | Y | 3.3
[7 empty] | 1 | 1 |  | 1 |  | 1
98B |  |  | N | N | 12.3 |  | Y | Y | 14.9 | Y | N | Y | 2.6
[7 empty] | 1 | 1 |  | 1 |  | 1
99B |  |  | N | N | 6.3 |  | Y | Y | 25.2 | Y | Y | Y | 18.9
[7 empty] | 1 | 1 |  | 1 | 1 | 1
100B |  |  | N | N | 5.3 |  | Y | Y | 37.6 | N | Y | N | 32.3
[7 empty] | 1 | 1 |  |  | 1
101B |  |  | N | N | 10.4 |  | Y | Y | 15.1 | Y | N | Y | 4.7
[7 empty] | 1 | 1 |  | 1 |  | 1
102B |  |  | N | N | 7.4 |  | Y | Y | 9.2 | Y | N | Y | 1.8
[7 empty] | 1 | 1 |  | 1 |  | 1
103B |  |  | N | N | 5.2 |  | Y | Y | 36.8 | N | N | N | 31.6
[7 empty] | 1 | 1
104B |  |  | N | N | 6.8 |  | Y | Y | 11.2 | Y | N | Y | 4.4
[7 empty] | 1 | 1 |  | 1 |  | 1
105B |  |  | N | N | 12.11 |  | Y | Y | 19.9 | N | Y | Y | 7.79
[7 empty] | 1 | 1 |  |  | 1 | 1
106B |  |  | N | N | 7.7 |  | Y | Y | 14.1 | Y | N | Y | 6.4
[7 empty] | 1 | 1 |  | 1 |  | 1
107B |  |  | N | N | 5.1 |  | Y | Y | 36.2 | N | Y | N | 31.1
[7 empty] | 1 | 1 |  |  | 1
|  |  | N | N | 7.31 |  | Y | Y | 11.8 | Y | N | Y | 4.49
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 9.1 |  | Y | Y | 14.72 | Y | N | Y | 5.62
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 8.12 |  | Y | Y | 12.3 | Y | N | Y | 4.18
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 9.8 |  | Y | Y | 16.34 | Y | N | Y | 6.54
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 6.8 |  | Y | Y | 13.7 | Y | N | Y | 6.9
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 11.2 |  | Y | Y | 14.3 | Y | N | Y | 3.1
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 8.56 |  | Y | Y | 13.89 | Y | N | Y | 5.33
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 7.2 |  | Y | Y | 14.78 | Y | N | Y | 7.58
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 9.67 |  | Y | Y | 13.8 | Y | N | Y | 4.13
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | Y | 8.1 |  | Y | Y | 13.6 | Y | N | Y | 5.5
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 6.3 |  | Y | Y | 14.54 | Y | N | Y | 8.24
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | Y | 7.56 |  | Y | Y | 14.5 | Y | N | Y | 6.94
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 8.2 |  | Y | Y | 14.7 | Y | N | Y | 6.5
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 8.5 |  | Y | Y | 15.7 | Y | N | Y | 7.2
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 7.2 |  | Y | Y | 13.8 | Y | N | Y | 6.6
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | Y | 7.8 |  | Y | Y | 13.8 | Y | N | Y | 6
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 5.3 |  | Y | Y | 12.8 | Y | N | Y | 7.5
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 7.7 |  | Y | Y | 13.19 | Y | N | Y | 5.49
[7 empty] | 1 | 1 |  | 1 |  | 1
|  |  | N | Y | 7.1 |  | Y | Y | 11.3 | Y | N | Y | 4.2
|  |  |  | 1 |  |  | 1 | 1 |  | 1 |  | 1
|  |  | N | N | 7.7 |  | Y | Y | 13.48 | Y | N | Y | 5.78
[7 empty] | 1 | 1 |  | 1 |  | 1
Sum |  |  | 2 | 28 |  |  | 121 | 122 |  | 104 | 15 | 116
Average |  |  |  |  | 7.9801 |  |  |  | 14.7074 |  |  |  | 6.7704

## WPI '12 Trial 1
Trial 1
Date: mm/dd/yy | Sex: M/F | Age: | back to fire: y/n | Read label: y/n | Time to start: sec | Distance: ft. | Sweep: y/n | At the base: y/n | Time to finish: sec | Continued after fire done: y/n | fire re-ignite: y/n | fire extinguished: y/n | time of extinguishment: sec
2012-01-20 | M | 26 | n | y | 7.18 | 8 | y | y | 28.08 | y | y | y | 23.08
2012-01-20 | M | 19 | n | y | 18.8 | 8 | y | y | 38.05 | y | n | y | 33.05
2012-01-20 | F | 19 | n | y | 12.5 | 8 | y | y | 37.02 | n | y | y | 32.02
2012-01-20 | M | 19 | n | y | 25.06 | 8 | y | n | 32.82 | y | n | y | 27.82
2012-01-20 | F | 18 | n | y | 11.48 | 8 | y | y | 19.03 | y | n | y | 15.03
2012-01-20 | M | 19 | n | n | 5.85 | 8 | y | y | 14.01 | y | n | y | 9.01
2012-01-20 | M | 20 | n | n | 7 | 8 | y | y | 19.8 | y | y | y | 14.8
2012-01-20 | M | 33 | n | n | 3 | 8 | y | y | 24.52 | n | y | y | 19.52
2012-01-20 | M | 18 | n | y | 8.08 | 8 | y | y | 19.8 | n | y | y | 14.8
2012-01-20 | M | 20 | n | n | 5.08 | 8 | n | y | 22.8 | n | y | y | 17.8
2012-01-20 | M | 20 | n | n | 7.38 | 8 | n | y | n/a | n/a | y | n | n/a | *Fire Extinguisher ran out of air pressure to deliver water. Handle was compressed all the way down. No stop start of squirting
2012-01-25 | M | 19 | n | n | 6.61 | 8 | n | n | n/a | n | y | n | n/a
2012-01-25 | M | 21 | n | y | 15.58 | 8 | y | n | n/a | n | y | n | n/a
2012-01-25 | M | 18 | n | n | 10.8 | 8 | y | y | n/a | n | y | n | n/a
2012-01-25 | F | 22 | n | n | 10.1 | 8 | n | n | n/a | n | y | n | n/a
2012-01-25 | M | 24 | n | n | 11.65 | 8 | y | y | n/a | n | y | n | n/a
2012-01-25 | M | 20 | n | y | 17.95 | 8 | y | y | n/a | n | y | n | n/a
2012-01-25 | M | 19 | n | n | 5.59 | 8 | n | n | n/a | n | n | n | n/a
2012-01-25 | M | 22 | n | n | 7.96 | 8 | n | y | n/a | y | n | n | n/a
2012-01-25 | M | 21 | n | n | 7.75 | 8 | y | y | 28 | n | y | y | 20.25
2012-01-25 | M | 18 | n | n | 10.8 | 8 | y | n | n/a | y | n | n | n/a
2012-01-25 | M | 23 | n | y | 18.45 | 8 | y | n | 37.8 | n | y | y | 19.35
2012-01-27 | M | 19 | n | y | 20.12 | 8 | n | n | n/a | n | n | n | n/a
2012-01-27 | M | 18 | n | n | 4.75 | 8 | y | y | 8.06 | y | n | y | 3.31
2012-01-27 | M | 20 | n | n | 7.57 | 8 | y | y | n/a | n | y | n | n/a
2012-01-27 | M | 21 | n | n | 6.18 | 8 | y | y | 8.2 | y | n | y | 2.02
2012-01-27 | M | 24 | n | n | 4.28 | 8 | y | y | 5.2 | y | n | y | 0.92
2012-02-01 | M | 56 | n | y | 21.12 | 8 | n | y | n/a | n | y | n | n/a
2012-02-01 | M | 18 | n | n | 6.09 | 8 | n | y | 13.01 | n | y | y | 6.92
2012-02-01 | M | 21 | n | y | 21.75 | 8 | n | n | n/a | n | y | n | n/a
2012-02-01 | F | 18 | y | n | 9.59 | 8 | n | n | 24.2 | n | y | n | 14.61
2012-02-01 | M | 21 | n | n | 6.56 | 8 | n | n | n/a | n | y | n | n/a
2012-02-01 | F | 20 | n | y | 54.7 | 10 | n | n | n/a | n/a | n/a | n/a | n/a
2012-02-01 | F | 19 | n | y | 32.12 | 8 | n | n | 43 | n | y | y | 10.88
2012-02-03 | M | 19 | n | y | 5.59 | 8 | n | n | n/a | n | y | n | n/a
2012-02-03 | M | 20 | n | y | 13.92 | 8 | y | n | n/a | n | y | n | n/a
2012-02-03 | M | 18 | n | y | 15.64 | 8 | n | n | n/a | n | y | n | n/a
2012-02-03 | M | 20 | n | n | 18.93 | 8 | y | n | n/a | n | y | n | n/a
2012-02-03 | F | 19 | n | y | 16.95 | 8 | n | n | n/a | n | y | n | n/a
2012-02-03 | M | 21 | n | y | 10.24 | 8 | n | y | 23.24 | n | y | y | 13
2012-02-03 | F | 18 | n | y | 20.5 | 8.5 | n | n | n/a | n | n | n | n/a
2012-02-03 | F | 18 | n | y | 19.56 | 8 | y | y | 23.5 | y | n | y | 3.94
2012-02-03 | M | 18 | N | n | 7.58 | 8 | n | n | n/a | n | y | n | n/a
2012-02-08 | M | 21 | n | n | 5.5 | 8 | y | y | 12.4 | n | y | y | 6.9
2012-02-08 | F | 21 | Y | y | 22.15 | 8 | n | n | n/a | n | y | n | n/a
2012-02-08 | M | 20 | n | n | 7.71 | 8 | y | n | 21 | y | n | y | 13.29
2012-02-08 | M | 21 | n | n | 7.03 | 8 | y | n | n/a | n | y | n | n/a
2012-02-08 | M | 19 | n | n | 3.1 | 8 | y | y | 6.2 | y | n | y | 3.1
2012-02-08 | F | 18 | n | y | 49.71 | 8 | n | n | n/a | n | n | n | n/a
2012-02-08 | M | 18 | n | y | 7.92 | 8 | y | y | 26.3 | n | y | y | 18.38
2012-02-08 | F | 24 | n | y | 40.03 | 8 | n | n | n/a | n/a | n/a | n/a | n/a
2012-02-08 | M | 20 | n | y | 10.62 | 8 | y | y | 18.2 | n | y | y | 7.58
2012-02-10 | M | 21 | n | y | 16.4 | 8 | n | n | n/a | n/a | y | n | n/a
2012-02-10 | M | 21 | n | y | 12.5 | 8 | y | n | n/a | n/a | y | n | n/a
2012-02-10 | M | 18 | n | n | 12.81 | 8 | y | y | 28.2 | y | y | y | 15.39
2012-02-10 | F | 35 | n | y | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
2012-02-10 | M | 20 | n | y | 13.34 | 8 | n | n | n/a | n/a | y | n | n/a
2012-02-10 | F | 19 | n | y | 30.03 | 8 | n | n | n/a | n/a | y | n | n/a
2012-02-15 | F | 20 | n | y | 21.51 | 8 | n | n | n/a | n/a | y | n | n/a
2012-02-15 | M | 22 | n | n | 11.75 | 8 | y | y | 22.3 | n | y | y | 10.55
2012-02-15 | M | 22 | N | N | 3.59 | 8 | y | y | 7.01 | y | n | y | 3.42
2012-02-15 | M | 18 | n | n | 11.26 | 8 | y | y | n/a | n | y | n | n/a
2012-02-15 | M | 19 | n | n | 4.86 | 8 | y | y | 9.8 | n | y | y | 4.94
2012-02-15 | F | 19 | n | y | 39 | 8 | n | n | n/a | n | n | n | n/a
2012-02-15 | M | 19 | n | n | 9.09 | 8 | y | y | 26 | n | y | y | 16.91
2012-02-17 | F | 21 | n | y | 24.03 | 8 | y | n | 40.1 | y | y | y | 16.07
2012-02-17 | M | 24 | y | n | 8.84 | 8 | y | y | 25.3 | y | y | y | 16.46
2012-02-17 | M | 19 | n | Y | 13.9 | 9 | y | y | 30.4 | n | y | y | 16.5
2012-02-17 | M | 19 | n | y | 58 | 8 | n | n | 67.6 | y | y | y | 9.6
2012-02-17 | F | 21 | n | y | 51.45 | 8 | y | n | n/a | y | y | n | n/a
2012-02-17 | M | 20 | n | n | 11.18 | 8 | n | n | n/a | n/a | n/a | n/a | n/a
2012-02-17 | F | 19 | n | Y | 31.5 | 8 | n | y | n/a | n/a | y | n | n/a
2012-02-17 | F | 19 | n | n | 3.25 | 8 | y | y | 6.6 | y | n | y | 3.35
2012-02-17 | M | 19 | n | n | 4.46 | 9 | n | n | n/a | n/a | n/a | n/a | n/a
2012-02-22 | M | 21 | n | y | 13.5 | 8 | y | n | n/a | n | n | n | n/a
2012-02-24 | F | 19 | n | n | 25.05 | 8 | y | y | 33.1 | y | y | y | 8.05
2012-02-24 | M | 20 | n | n | 7.78 | 8 | y | y | 19.2 | y | n | y | 11.42
2012-02-24 | M | 24 | n | n | 7.63 | 8 | y | y | 32.1 | y | y | y | 24.47
2012-02-24 | M | 27 | n | y | 8.65 | 8 | y | y | 30.5 | y | y | y | 21.85 | *Malfunction. Best Estimate
2012-02-24 | M | 24 | n | n | 10.04 | 8 | y | y | 21 | y | y | y | 10.96
2012-02-24 | M | 22 | n | n | 4.53 | 8 | y | y | 13.5 | y | n | y | 8.77
2012-02-24 | M | 19 | n | n | 6.75 | 8 | n | y | n/a | n | n | n | n/a
2012-02-24 | M | 18 | n | n | 7.21 | 8 | n | n | n'a | n | n | n | n/a
2012-02-24 | M | 19 | n | y | 6 | 8 | n | y | n/a | n | n | n | n/a
2012-02-24 | F | 19 | n | y | 25.87 | 8 | y | y | 31.8 | y | n | y | 5.93
Averages |  | 20.8471 |  |  | 14.6181 | 8.0536 |  |  | 23.7798 |  |  |  | 13.2386

## WPI '12 Trial 2
Trial 2
Date: mm/dd/yy | Sex: M/F | Age: | back to fire: y/n | Read label: y/n | Time to start: sec | Distance: ft. | Sweep: y/n | At the base: y/n | Time to finish: sec | Continued after fire done: y/n | fire re-ignite: y/n | fire extinguished: y/n | time of extinguishment: sec
2012-01-20 | M | 26 | n | n | 3.76 | 8 | y | y | 12.23 | y | y | y | 7.23
2012-01-20 | M | 19 | n | n | 5.8 | 8 | y | y | 20.08 | y | n | y | 15.08
2012-01-20 | F | 19 | n | n | 5 | 8 | y | y | 33.52 | y | n | y | 28.52
2012-01-20 | M | 19 | n | n | 9.8 | 8 | y | y | 22.08 | y | y | y | 17.08
2012-01-20 | F | 18 | n | n | 14.08 | 8 | y | y | 23.15 | y | y | y | 18.15
2012-01-20 | M | 19 | n | n | 4.07 | 8 | y | y | 8.5 | y | n | y | 3.5
2012-01-20 | M | 20 | n | n | 9 | 8 | y | y | 13 | y | n | y | 8
2012-01-20 | M | 33 | n | n | 1 | 8 | y | y | 25.53 | y | n | y | 20.53
2012-01-20 | M | 18 | n | n | 1.09 | 8 | n | y | 11.6 | y | n | y | 6.6
2012-01-20 | M | 20 | n | n | 3 | 8 | y | y | 23.8 | y | y | y | 18.8
2012-01-20 | M | 20 | n | n | 5.32 | 8 | y (very slow) | y | n/a | n/a | n/a | n/a | n/a
2012-01-25 | M | 19 | n | n | 5.58 | 8 | y | y | n/a | y | y | n | n/a
2012-01-25 | M | 21 | n | n | 6.46 | 8 | y | y | 9.2 | y | n | y | 4.2
2012-01-25 | M | 18 | n | n | 6.34 | 8 | y | y | 13.8 | y | n | y | 8.8
2012-01-25 | F | 22 | n | n | 14.2 | 8 | y | y | n/a | n | y | n | n/a
2012-01-25 | M | 24 | n | n | 4.51 | 8 | y | y | 25.1 | y | y | y | 20.1
2012-01-25 | M | 20 | n | n | 6.21 | 8 | y | y | 11.3 | y | n | y | 5.09
2012-01-25 | M | 19 | n | n | 5.49 | 8 | y | y | 11.2 | y | n | y | 5.71
2012-01-25 | M | 22 | n | n | 9.21 | 8 | y | n | n/a | y | n | n | n/a
2012-01-25 | M | 21 | n | n | 7.2 | 8 | y | y | 10.1 | y | n | y | 2.9
2012-01-25 | M | 18 | n | n | 7.18 | 9 | y | n | 32 | n | y | y | 24.82
2012-01-25 | M | 23 | n | n | 6.58 | 8 | y | y | 12.8 | y | n | y | 6.22
2012-01-27 | M | 19 | n | n | 4.87 | 8 | y | y | n/a | n | y | n | n/a
2012-01-27 | M | 18 | n | n | 3.31 | 8 | y | y | 7.08 | y | n | y | 3.77
2012-01-27 | M | 20 | n | n | 8.37 | 8 | y | y | 14.5 | y | n | y | 6.13
2012-01-27 | M | 21 | n | n | 6.18 | 8 | y | y | 8.2 | y | n | y | 2.02
2012-01-27 | M | 24 | n | n | 3.13 | 8 | y | y | 5.2 | y | n | y | 2.07
2012-02-01 | M | 56 | n | n | 7.93 | 8 | n | y | 12.9 | y | n | y | 4.97
2012-02-01 | M | 18 | n | n | 5.71 | 8 | y | y | 16.04 | y | n | y | 10.33
2012-02-01 | M | 21 | n | n | 7.34 | 8 | y | y | 13.1 | y | n | y | 5.76
2012-02-01 | F | 18 | n | n | 17.12 | 8 | y | y | 21.6 | y | n | y | 4.48
2012-02-01 | M | 21 | n | n | 4 | 8 | y | y | 10.2 | n | y | y | 6.2
2012-02-01 | F | 20 | n | n | 13.12 | 8 | n | n | n/a | n | n | n | n/a
2012-02-01 | F | 19 | n | n | 7.65 | 8 | y | y | 12.5 | y | n | y | 4.85
2012-02-03 | M | 19 | n | n | 6.31 | 8 | y | y | 10.2 | y | n | y | 3.89
2012-02-03 | M | 20 | n | n | 6.8 | 8 | y | y | 9.8 | n | y | y | 3
2012-02-03 | M | 18 | n | n | 7.46 | 8 | y | y | 12.8 | y | n | y | 5.34
2012-02-03 | M | 20 | n | n | 10.39 | 8 | y | y | 13.42 | y | n | y | 3.03
2012-02-03 | F | 19 | n | n | 4.78 | 8 | y | y | 9.8 | y | n | y | 5.02
2012-02-03 | M | 21 | n | n | 7.17 | 8 | y | y | 10.2 | y | n | y | 3.03
2012-02-03 | F | 18 | n | n | 25.41 | 8 | y | n | n/a | n | n | n | n/a
2012-02-03 | F | 18 | n | n | 10.31 | 8 | y | y | 16.7 | y | n | y | 6.39
2012-02-03 | M | 18 | n | n | 5.24 | 8 | y | y | 9.2 | y | n | y | 3.96
2012-02-08 | M | 21 | n | n | 4.1 | 8 | y | y | 8 | y | n | y | 3.9
2012-02-08 | F | 21 | y | n | 10.8 | 8 | y | y | 13.7 | y | n | y | 2.9
2012-02-08 | M | 20 | n | n | 4.21 | 8 | y | y | 9.3 | y | n | y | 5.09
2012-02-08 | M | 21 | n | n | 4.2 | 8 | y | y | 10.2 | y | n | y | 6
2012-02-08 | M | 19 | n | n | 2.2 | 8 | y | y | 4.2 | y | n | y | 2 | *PFF
2012-02-08 | F | 18 | n | n | 7.68 | 8 | y | n | n/a | n | y | n | n/a
2012-02-08 | M | 18 | n | n | 4.03 | 8 | y | y | 7.4 | y | n | y | 3.37
2012-02-08 | F | 24 | n | n | 8.65 | 8 | y | y | 20.7 | y | n | y | 12.05
2012-02-08 | M | 20 | n | n | 4.37 | 8 | y | y | 6.7 | y | n | y | 2.4
2012-02-10 | M | 21 | n | n | 7.62 | 9 | y | n | n/a | n/a | y | n | n/a
2012-02-10 | M | 21 | n | n | 5.09 | 8 | y | y | 9.7 | y | n | y | 3.98
2012-02-10 | M | 18 | n | n | 6.28 | 8 | y | y | 11.7 | y | n | y | 5.42
2012-02-10 | F | 35 | n | n | 8.25 | 9 | n | n | n/a | n/a | n/a | n/a | n/a
2012-02-10 | M | 20 | n | n | 6.9 | 8 | y | y | 14.4 | y | n | y | 7.5
2012-02-10 | F | 19 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
2012-02-15 | F | 20 | n | n | 8.28 | 8 | y | n | n/a | n/a | n/a | n | n/a
2012-02-15 | M | 22 | n | n | 6.37 | 8 | y | y | 11.2 | y | n | y | 4.83
2012-02-15 | M | 22 | n | y | 1.82 | 8 | y | y | 6.07 | y | n | y | 4.25
2012-02-15 | M | 18 | n | n | 5.87 | 8 | y | y | 15.3 | y | n | y | 9.43
2012-02-15 | M | 19 | n | n | 3.46 | 8 | y | n | 19.4 | y | y | y | 15.94
2012-02-15 | F | 19 | n | n | 7.06 | 8 | y | y | 11.5 | y | n | y | 4.44
2012-02-15 | M | 19 | n | n | 5.9 | 8 | y | y | 11.7 | y | n | y | 5.8
2012-02-17 | F | 21 | n | n | 8.43 | 8 | y | y | 14.6 | y | n | y | 6.17
2012-02-17 | M | 24 | n | n | 5.12 | 8 | y | y | 8.1 | y | n | y | 2.98
2012-02-17 | M | 19 | n | n | 6.63 | 8 | y | y | 9.7 | y | n | y | 3.07
2012-02-17 | M | 19 | n | n | 10.75 | 8 | y | y | 14.4 | y | n | y | 3.65
2012-02-17 | F | 21 | n | n | 5.5 | 8 | y | y | 8.5 | y | n | y | 3
2012-02-17 | M | 20 | n | n | 6.28 | 8 | y | y | 13.9 | y | n | y | 7.62
2012-02-17 | F | 19 | n | n | 9.9 | 8 | y | y | 15.8 | y | y | y | 5.9
2012-02-17 | F | 19 | y | n | 3.31 | 8 | y | y | 12.5 | y | y | y | 9.19
2012-02-17 | M | 19 | n | n | 4.78 | 8 | y | y | 11.5 | y | y | y | 6.72
2012-02-22 | m | 21 | n | n | 9.34 | 8 | y | y | 20.2 | y | n | y | 10.86
2012-02-24 | F | 19 | n | n | 12.34 | 8 | y | y | 17.1 | y | n | y | 4.76
2012-02-24 | M | 20 | n | n | 6.71 | 8 | y | y | 10.5 | y | n | y | 3.79
2012-02-24 | M | 24 | n | n | 3.04 | 8 | y | y | 6.1 | y | n | y | 3.06
2012-02-24 | M | 27 | n | n | 4 | 8 | y | y | 9.5 | y | n | y | 5.5
2012-02-24 | M | 24 | n | n | 5.15 | 8 | y | y | 18.7 | y | y | y | 13.55
2012-02-24 | M | 22 | n | n | 3.46 | 8 | y | y | 11.16 | y | n | y | 7.7
2012-02-24 | M | 19 | n | n | 6.4 | 8 | y | y | 11.5 | y | n | y | 5.1
2012-02-24 | M | 18 | n | n | 4.71 | 8 | y | y | 17.3 | y | y | y | 12.59
2012-02-24 | M | 19 | n | n | 4.71 | 8 | y | y | 10.8 | y | y | y | 6.09
2012-02-24 | F | 19 | y | n | 6.04 | 8 | y | y | 13.5 | n | n | y | 7.46
Averages |  | 20.8471 |  |  | 6.705 | 8.0357 |  |  | 13.4104 |  |  |  | 7.31

## Summary of Results
EKU
Testing: | Males | Females | Back to Fire y/n | Read label: Yes | Distance: ft. | Sweep: Yes | At the base: Yes | Continued after fire done: Yes | fire re-ignite: Yes | fire extinguished: Yes | Time to start | Time to finish | Time of extinguishment
Trial 1 | 78 | 49 | 7 | 20 | 8 | 113 | 112 | 72 | 49 | 96 | 11.61 | 20.88 | 9.27
Percentage | 61.42% | 38.58% | 5.512% | 15.75% |  | 88.98% | 88.19% | 56.69% | 38.58% | 75.59%
Trial 2 |  |  | 2 | 28 | 8 | 121 | 122 | 104 | 15 | 116 | 7.98 | 14.71 | 6.77
Percentages |  |  | 1.575% | 22.05% |  | 95.28% | 96.06% | 81.89% | 11.81% | 91.34%
difference |  |  | 3.937% | -6.299% |  | -6.299% | -7.874% | -25.2% | 26.77% | -15.75% | 31.27% | 29.55% | 26.97%
WPI '11
Testing: | Males | Females | Back to Fire y/n | Read label: Yes | Distance: ft. | Sweep: Yes | At the base: Yes | Continued after fire done: Yes | fire re-ignite: Yes | fire extinguished: Yes | Time to start | Time to finish | Time of extinguishment
Trial 1 WPI '11 | 51 | 13 | 1 | 30 | 8 | 52 | 41 | 32 | 33 | 43 | 15.2 | 23.1 | 12.2
Percentages | 79.69% | 20.31% | 1.562% | 46.88% |  | 81.25% | 64.06% | 50% | 51.56% | 67.19%
Trial 2 WPI '11 |  |  | 0 | 1 | 8 | 64 | 63 | 51 | 14 | 63 | 6.5 | 12.15 | 8.5
|  |  | 0% | 1.562% |  | 100% | 98.44% | 79.69% | 21.88% | 98.44%
|  |  | 1.562% | 45.31% | 0% | -18.75% | -34.38% | -29.69% | 29.69% | -31.25% | 57.24% | 47.4% | 30.33%
WPI '12
Testing: | Males | Females | Back to Fire y/n | Read label: Yes | Distance: ft. | Sweep: Yes | At the base: Yes | Continued after fire done: Yes | fire re-ignite: Yes | fire extinguished: Yes | Time to start | Time to finish | Time of extinguishment
Trial 1 | 63 | 22 | 3 | 42 | 8 | 48 | 46 | 27 | 53 | 41 | 14.6 | 23.8 | 13.24
Percentages | 74.12% | 25.88% | 3.529% | 49.41% | 8 | 44.71% | 54.12% | 31.76% | 62.35% | 48.24%
Trial 2 |  |  | 3 | 6 | 8 | 80 | 73 | 71 | 22 | 71 | 6.7 | 13.4 | 7.3
|  |  | 3.529% | 7.059% | 8 | 94.12% | 85.88% | 83.53% | 25.88% | 83.53%
|  |  | 0% | 42.35% | 0% | -49.41% | -31.76% | -51.76% | 36.47% | -35.29% | 54.11% | 43.7% | 44.86%

## Quick Glance Tables
Question 1. General Population’s Ability to Use a Fire Extinguisher Without Prior Training |  | Usage |  |  | Technique |  |  |  | Safety |  | Effectiveness
| # of tests conducted | % able to discharge agent | Ave. Pre-discharge time (s) | Read Label | Aimed at base of fire | Back/forth sweeping motion | Continued to spray after fire not visible | Time to Finish | Stood a safe distance away | Turned back to fire | % extinguished | Ave. Extinguishment time (s) | % re-ignited
WPI ‘11 | 64 | 100% | 15.2 | 47% | 64% | 81% | 50% | 23.1 | 100% | 2% | 67% | 12.2 | 52%
WPI ‘12 | 85 | 99% | 14.6 | 49% | 54% | 45% | 32% | 23.8 | 100% | 4% | 48% | 13.2 | 62%
EKU ’11-‘12 | 127 | 97% | 11.6 | 16% | 88% | 89% | 57% | 20.8 | 99% | 6% | 76% | 9.3 | 39%
TOTAL | 276 | 98.31% | 13.3587 | 33.35% | 71.96% | 73.59% | 47.68% | 22.2572 | 99.54% | 4.457% | 65.29% | 11.1736 | 49.1%
Question 2. General Population’s Ability to Use a Fire Extinguisher With Short Training |  | Usage |  |  | Technique |  |  |  | Safety |  | Effectiveness
| # of tests conducted | % able to discharge agent | Ave. Pre-discharge time (s) | Read Label | Aimed at base of fire | Back/forth sweeping motion | Continued to spray after fire not visible | Time to Finish | Stood a safe distance away | Turned back to fire | % extinguished | Ave. extinguishment time (s) | % re-ignited
WPI ‘11 | 64 | 100% | 6.5 | 2% | 98% | 100% | 80% | 12.2 | 100% | 0% | 98% | 8.5 | 22%
WPI ‘12 | 85 | 100% | 6.7 | 7% | 86% | 94% | 86% | 13.4 | 100% | 4% | 84% | 7.3 | 26%
EKU ’11-‘12 | 127 | 100% | 7.9 | 22% | 96% | 95% | 82% | 14.7 | 100% | 2% | 91% | 6.8 | 12%
TOTAL | 276 | 53.99% | 3.5707 | 2.62% | 49.21% | 52.14% | 45.04% | 6.9558 | 53.99% | 1.232% | 90.47% | 4.2192 | 13.11%
Percent Improvement with Training |  | Usage |  |  | Technique |  |  |  | Safety |  | Effectiveness
| # of tests conducted | % able to discharge agent | Ave. Pre-discharge time (s) | Read Label | Aimed at base of fire | Back/forth sweeping motion | Continued to spray after fire not visible | Time to Finish | Stood a safe distance away | Turned back to fire | % extinguished | Ave. Extinguishment time (s) | % re-ignited
WPI ‘11 | 64 | All Subjects Discharged Agent | Pre-Discharge Time decreased by 57% | Reading Label decreased by 45% | Aimed at base of the fire increase by 34% | Back/forth sweeping motion increased by 19% | Continued to spray after fire not visible increased by 30% | Time to Finish decreased by 30% | All participants stood a safe distance away from fire | Turned back to fire decreased by 2% | % extinguished increased by 31% | Ave. Extinguishment time decreased by 30% | % re-ignited decreased by 30%
WPI ‘12 | 85 | All Subjects Discharged Agent | Pre-Discharge Time decreased by 54% | Reading Label decreased by 42% | Aimed at base of the fire increase by 32% | Back/forth sweeping motion increased by 49% | Continued to spray after fire not visible increased by 52% | Time to Finish decreased by 44% | All participants stood a safe distance away from fire | Turned back to fire decreased by 0% | % extinguished increased by 35% | Ave. Extinguishment time decreased by 45% | % re-ignited decreased by 36%
EKU ’11-‘12 | 127 | All Subjects Discharged Agent | Pre-Discharge Time decreased by 31% | Reading Label increased by 6% | Aimed at base of the fire increase by 8% | Back/forth sweeping motion increased by 6% | Continued to spray after fire not visible increased by 25% | Time to Finish decreased by 47% | All participants stood a safe distance away from fire | Turned back to fire decreased by 4% | % extinguished increased by 16% | Ave. Extinguishment time decreased by 27% | % re-ignited decreased by 27%
TOTAL | 276 | All Subjects Discharged Agent | Pre-Discharge Time decreased by 46% | Reading Label decreased by 21% | Aimed at base of the fire increase by 21% | Back/forth sweeping motion increased by 22% | Continued to spray after fire not visible increased by 35% | Time to Finish decreased by 38% | All participants stood a safe distance away from fire | Turned back to fire decreased by 2% | % extinguished increased by 25% | Ave. Extinguishment time decreased by 34% | % re-ignited decreased by 30%
| 98.31% | 13.3587 | 33.35% | 71.96% | 73.59% | 47.68% | 22.2572 | 99.54% | 4.457% | 65.29% | 11.1736 | 49.1%
| 100% | 7.2058 | 12.74% | 93.38% | 95.85% | 82.77% | 13.7199 | 100% | 2.152% | 90.47% | 7.3482 | 18.63%
| 1.688% | 46.06% | -20.61% | 21.42% | 22.26% | 35.09% | 38.36% | 0.4601% | -2.304% | 25.18% | 34.24% | -30.47%