## temps for 1.5" pipe
Exit Temperatures calculated based on length of pipe
Diameter of the Pipe (in) | Wall Temperature (oC) (Tw) | Initial Temperature (oC) (Ti) | Velocity of the Fluid* (v) (m/s) | Length of Pipe (m) | Exit Temperature (oC) (Tb) | Reynolds Number (Re = pvd / u) | Local Heat Transfer Coefficient (m2K/W) (hx or h) | Nusselt Number (Nu) | Thermal Conductivity (k) (W/mK) | Diameter of the Pipe (m) | Cross Sectional Area (m2) | Hydraulic Diameter (hd) (m) | Density of the Fluid* (p) (kg/m3) | Diameter of the Duct (d) (m) | Dynamic Viscosity of the Fluid* (u) (N-s/m2) | Volumetric Flow Rate (mL/s) | Volumetric Flow Rate (L/min) | Surface Contact Area (A) (m2) | Mass Flow Rate (m) (kg/s) | Heat Capacity (Cp ) (J/kgC) | Cost
[23 empty] | Text | → | Input Values
1.5 | 45 | 10 | 0.044 | 7874.0158 | 45 | 2310.6823 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 50.164 | 3.0098 | 942.4778 | 0.050164 | 4181.3 | 8266.6832 | 0.79512 | Text | → | Constant Values
1.5 | 45 | 10 | 0.05 | 7874.0158 | 45 | 2625.7753 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 57.0046 | 3.4203 | 942.4778 | 0.057005 | 4181.3 | 8266.6832 | 0.90354 | Text | → | Calculated Values
1.5 | 45 | 10 | 0.5 | 7874.0158 | 45 | 26257.7533 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 570.0459 | 34.2028 | 942.4778 | 0.57005 | 4181.3 | 8266.6832 | 9.0354 | Text | → | Output Values
1.5 | 45 | 10 | 1 | 7874.0158 | 44.9994 | 52515.5066 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 1140.0918 | 68.4055 | 942.4778 | 1.1401 | 4181.3 | 8266.6832 | 18.0708
1.5 | 45 | 10 | 1.5 | 7874.0158 | 44.9774 | 78773.2599 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 1710.1377 | 102.6083 | 942.4778 | 1.7101 | 4181.3 | 8266.6832 | 27.1062
1.5 | 45 | 10 | 2 | 7874.0158 | 44.8581 | 105031.0132 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 2280.1837 | 136.811 | 942.4778 | 2.2802 | 4181.3 | 8266.6832 | 36.1416
1.5 | 45 | 10 | 2.5 | 7874.0158 | 44.5729 | 131288.7665 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 2850.2296 | 171.0138 | 942.4778 | 2.8502 | 4181.3 | 8266.6832 | 45.1771
1.5 | 45 | 10 | 3 | 7874.0158 | 44.11 | 157546.5198 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 3420.2755 | 205.2165 | 942.4778 | 3.4203 | 4181.3 | 8266.6832 | 54.2125
1.5 | 45 | 10 | 3.5 | 7874.0158 | 43.4961 | 183804.2731 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 3990.3214 | 239.4193 | 942.4778 | 3.9903 | 4181.3 | 8266.6832 | 63.2479
1.5 | 45 | 10 | 4 | 7874.0158 | 42.7712 | 210062.0264 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 4560.3673 | 273.622 | 942.4778 | 4.5604 | 4181.3 | 8266.6832 | 72.2833
1.5 | 45 | 10 | 4.5 | 7874.0158 | 41.9733 | 236319.7797 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 5130.4132 | 307.8248 | 942.4778 | 5.1304 | 4181.3 | 8266.6832 | 81.3187
1.5 | 45 | 10 | 5 | 7874.0158 | 41.1339 | 262577.533 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 5700.4592 | 342.0275 | 942.4778 | 5.7005 | 4181.3 | 8266.6832 | 90.3541
1.5 | 45 | 10 | 5.5 | 7874.0158 | 40.2766 | 288835.2863 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 6270.5051 | 376.2303 | 942.4778 | 6.2705 | 4181.3 | 8266.6832 | 99.3895
1.5 | 45 | 10 | 6 | 7874.0158 | 39.4186 | 315093.0396 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 6840.551 | 410.4331 | 942.4778 | 6.8406 | 4181.3 | 8266.6832 | 108.4249
1.5 | 45 | 10 | 6.5 | 7874.0158 | 38.572 | 341350.7929 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 7410.5969 | 444.6358 | 942.4778 | 7.4106 | 4181.3 | 8266.6832 | 117.4604
1.5 | 45 | 10 | 7 | 7874.0158 | 37.7449 | 367608.5462 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 7980.6428 | 478.8386 | 942.4778 | 7.9806 | 4181.3 | 8266.6832 | 126.4958
1.5 | 45 | 10 | 7.5 | 7874.0158 | 36.9424 | 393866.2995 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 8550.6887 | 513.0413 | 942.4778 | 8.5507 | 4181.3 | 8266.6832 | 135.5312
1.5 | 45 | 10 | 8 | 7874.0158 | 36.1677 | 420124.0528 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 9120.7346 | 547.2441 | 942.4778 | 9.1207 | 4181.3 | 8266.6832 | 144.5666
1.5 | 45 | 10 | 8.5 | 7874.0158 | 35.4226 | 446381.8061 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 9690.7806 | 581.4468 | 942.4778 | 9.6908 | 4181.3 | 8266.6832 | 153.602
1.5 | 45 | 10 | 9 | 7874.0158 | 34.7076 | 472639.5594 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 10260.8265 | 615.6496 | 942.4778 | 10.2608 | 4181.3 | 8266.6832 | 162.6374
1.5 | 45 | 10 | 9.5 | 7874.0158 | 34.0228 | 498897.3127 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 10830.8724 | 649.8523 | 942.4778 | 10.8309 | 4181.3 | 8266.6832 | 171.6728
1.5 | 45 | 10 | 10 | 7874.0158 | 33.3676 | 525155.066 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 11400.9183 | 684.0551 | 942.4778 | 11.4009 | 4181.3 | 8266.6832 | 180.7082
1.5 | 45 | 10 | 10.5 | 7874.0158 | 32.7411 | 551412.8193 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 11970.9642 | 718.2579 | 942.4778 | 11.971 | 4181.3 | 8266.6832 | 189.7437
1.5 | 45 | 10 | 11 | 7874.0158 | 32.1423 | 577670.5726 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 12541.0101 | 752.4606 | 942.4778 | 12.541 | 4181.3 | 8266.6832 | 198.7791
1.5 | 45 | 10 | 11.5 | 7874.0158 | 31.5702 | 603928.3259 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 13111.056 | 786.6634 | 942.4778 | 13.1111 | 4181.3 | 8266.6832 | 207.8145
1.5 | 45 | 10 | 12 | 7874.0158 | 31.0233 | 630186.0792 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 13681.102 | 820.8661 | 942.4778 | 13.6811 | 4181.3 | 8266.6832 | 216.8499
1.5 | 45 | 10 | 12.5 | 7874.0158 | 30.5006 | 656443.8325 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 14251.1479 | 855.0689 | 942.4778 | 14.2511 | 4181.3 | 8266.6832 | 225.8853
1.5 | 45 | 10 | 13 | 7874.0158 | 30.0007 | 682701.5858 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 14821.1938 | 889.2716 | 942.4778 | 14.8212 | 4181.3 | 8266.6832 | 234.9207
1.5 | 45 | 10 | 13.5 | 7874.0158 | 29.5225 | 708959.3391 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 15391.2397 | 923.4744 | 942.4778 | 15.3912 | 4181.3 | 8266.6832 | 243.9561
1.5 | 45 | 10 | 14 | 7874.0158 | 29.0649 | 735217.0924 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 15961.2856 | 957.6771 | 942.4778 | 15.9613 | 4181.3 | 8266.6832 | 252.9915
1.5 | 45 | 10 | 14.5 | 7874.0158 | 28.6266 | 761474.8457 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 16531.3315 | 991.8799 | 942.4778 | 16.5313 | 4181.3 | 8266.6832 | 262.0269
1.5 | 45 | 10 | 15 | 7874.0158 | 28.2067 | 787732.599 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 17101.3775 | 1026.0826 | 942.4778 | 17.1014 | 4181.3 | 8266.6832 | 271.0624
1.5 | 45 | 10 | 15.5 | 7874.0158 | 27.8041 | 813990.3523 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 17671.4234 | 1060.2854 | 942.4778 | 17.6714 | 4181.3 | 8266.6832 | 280.0978
1.5 | 45 | 10 | 16 | 7874.0158 | 27.4179 | 840248.1056 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 18241.4693 | 1094.4882 | 942.4778 | 18.2415 | 4181.3 | 8266.6832 | 289.1332
1.5 | 45 | 10 | 16.5 | 7874.0158 | 27.0473 | 866505.8589 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 18811.5152 | 1128.6909 | 942.4778 | 18.8115 | 4181.3 | 8266.6832 | 298.1686
1.5 | 45 | 10 | 17 | 7874.0158 | 26.6913 | 892763.6122 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 19381.5611 | 1162.8937 | 942.4778 | 19.3816 | 4181.3 | 8266.6832 | 307.204
1.5 | 45 | 10 | 17.5 | 7874.0158 | 26.3492 | 919021.3655 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 19951.607 | 1197.0964 | 942.4778 | 19.9516 | 4181.3 | 8266.6832 | 316.2394
1.5 | 45 | 10 | 18 | 7874.0158 | 26.0202 | 945279.1188 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 20521.6529 | 1231.2992 | 942.4778 | 20.5217 | 4181.3 | 8266.6832 | 325.2748
1.5 | 45 | 10 | 18.5 | 7874.0158 | 25.7037 | 971536.8721 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 21091.6989 | 1265.5019 | 942.4778 | 21.0917 | 4181.3 | 8266.6832 | 334.3102
1.5 | 45 | 10 | 19 | 7874.0158 | 25.3989 | 997794.6254 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 21661.7448 | 1299.7047 | 942.4778 | 21.6617 | 4181.3 | 8266.6832 | 343.3457
1.5 | 45 | 10 | 19.5 | 7874.0158 | 25.1054 | 1024052.3787 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 22231.7907 | 1333.9074 | 942.4778 | 22.2318 | 4181.3 | 8266.6832 | 352.3811
1.5 | 45 | 10 | 20 | 7874.0158 | 24.8224 | 1050310.132 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 22801.8366 | 1368.1102 | 942.4778 | 22.8018 | 4181.3 | 8266.6832 | 361.4165
1.5 | 45 | 10 | 20.5 | 7874.0158 | 24.5495 | 1076567.8853 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 23371.8825 | 1402.313 | 942.4778 | 23.3719 | 4181.3 | 8266.6832 | 370.4519
1.5 | 45 | 10 | 21 | 7874.0158 | 24.2862 | 1102825.6386 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 23941.9284 | 1436.5157 | 942.4778 | 23.9419 | 4181.3 | 8266.6832 | 379.4873
1.5 | 45 | 10 | 21.5 | 7874.0158 | 24.032 | 1129083.3919 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 24511.9744 | 1470.7185 | 942.4778 | 24.512 | 4181.3 | 8266.6832 | 388.5227
1.5 | 45 | 10 | 22 | 7874.0158 | 23.7864 | 1155341.1452 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 25082.0203 | 1504.9212 | 942.4778 | 25.082 | 4181.3 | 8266.6832 | 397.5581
1.5 | 45 | 10 | 22.5 | 7874.0158 | 23.549 | 1181598.8985 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 25652.0662 | 1539.124 | 942.4778 | 25.6521 | 4181.3 | 8266.6832 | 406.5935
1.5 | 45 | 10 | 23 | 7874.0158 | 23.3195 | 1207856.6518 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 26222.1121 | 1573.3267 | 942.4778 | 26.2221 | 4181.3 | 8266.6832 | 415.6289
1.5 | 45 | 10 | 23.5 | 7874.0158 | 23.0974 | 1234114.4051 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 26792.158 | 1607.5295 | 942.4778 | 26.7922 | 4181.3 | 8266.6832 | 424.6644
1.5 | 45 | 10 | 24 | 7874.0158 | 22.8825 | 1260372.1584 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 27362.2039 | 1641.7322 | 942.4778 | 27.3622 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 24.5 | 7874.0158 | 22.6744 | 1286629.9117 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 27932.2498 | 1675.935 | 942.4778 | 27.9322 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 25 | 7874.0158 | 22.4727 | 1312887.665 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 28502.2958 | 1710.1377 | 942.4778 | 28.5023 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 25.5 | 7874.0158 | 22.2772 | 1339145.4183 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 29072.3417 | 1744.3405 | 942.4778 | 29.0723 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 26 | 7874.0158 | 22.0877 | 1365403.1716 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 29642.3876 | 1778.5433 | 942.4778 | 29.6424 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 26.5 | 7874.0158 | 21.9038 | 1391660.9249 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 30212.4335 | 1812.746 | 942.4778 | 30.2124 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 27 | 7874.0158 | 21.7253 | 1417918.6782 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 30782.4794 | 1846.9488 | 942.4778 | 30.7825 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 27.5 | 7874.0158 | 21.552 | 1444176.4315 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 31352.5253 | 1881.1515 | 942.4778 | 31.3525 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 28 | 7874.0158 | 21.3837 | 1470434.1848 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 31922.5712 | 1915.3543 | 942.4778 | 31.9226 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 28.5 | 7874.0158 | 21.2201 | 1496691.9381 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 32492.6172 | 1949.557 | 942.4778 | 32.4926 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 29 | 7874.0158 | 21.0611 | 1522949.6914 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 33062.6631 | 1983.7598 | 942.4778 | 33.0627 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 29.5 | 7874.0158 | 20.9065 | 1549207.4447 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 33632.709 | 2017.9625 | 942.4778 | 33.6327 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 30 | 7874.0158 | 20.7561 | 1575465.198 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 34202.7549 | 2052.1653 | 942.4778 | 34.2028 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 30.5 | 7874.0158 | 20.6097 | 1601722.9513 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 34772.8008 | 2086.368 | 942.4778 | 34.7728 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 31 | 7874.0158 | 20.4672 | 1627980.7046 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 35342.8467 | 2120.5708 | 942.4778 | 35.3428 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 31.5 | 7874.0158 | 20.3285 | 1654238.4579 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 35912.8927 | 2154.7736 | 942.4778 | 35.9129 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 32 | 7874.0158 | 20.1933 | 1680496.2112 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 36482.9386 | 2188.9763 | 942.4778 | 36.4829 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 32.5 | 7874.0158 | 20.0616 | 1706753.9645 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 37052.9845 | 2223.1791 | 942.4778 | 37.053 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 33 | 7874.0158 | 19.9332 | 1733011.7178 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 37623.0304 | 2257.3818 | 942.4778 | 37.623 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 33.5 | 7874.0158 | 19.808 | 1759269.4711 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 38193.0763 | 2291.5846 | 942.4778 | 38.1931 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 34 | 7874.0158 | 19.6859 | 1785527.2244 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 38763.1222 | 2325.7873 | 942.4778 | 38.7631 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 34.5 | 7874.0158 | 19.5667 | 1811784.9777 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 39333.1681 | 2359.9901 | 942.4778 | 39.3332 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 35 | 7874.0158 | 19.4505 | 1838042.731 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 39903.2141 | 2394.1928 | 942.4778 | 39.9032 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 35.5 | 7874.0158 | 19.3369 | 1864300.4843 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 40473.26 | 2428.3956 | 942.4778 | 40.4733 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 36 | 7874.0158 | 19.2261 | 1890558.2376 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 41043.3059 | 2462.5984 | 942.4778 | 41.0433 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 36.5 | 7874.0158 | 19.1178 | 1916815.9909 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 41613.3518 | 2496.8011 | 942.4778 | 41.6134 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 37 | 7874.0158 | 19.0121 | 1943073.7442 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 42183.3977 | 2531.0039 | 942.4778 | 42.1834 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 37.5 | 7874.0158 | 18.9087 | 1969331.4975 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 42753.4436 | 2565.2066 | 942.4778 | 42.7534 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 38 | 7874.0158 | 18.8077 | 1995589.2508 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 43323.4896 | 2599.4094 | 942.4778 | 43.3235 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 38.5 | 7874.0158 | 18.7089 | 2021847.0041 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 43893.5355 | 2633.6121 | 942.4778 | 43.8935 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 39 | 7874.0158 | 18.6123 | 2048104.7574 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 44463.5814 | 2667.8149 | 942.4778 | 44.4636 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 39.5 | 7874.0158 | 18.5177 | 2074362.5107 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 45033.6273 | 2702.0176 | 942.4778 | 45.0336 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 40 | 7874.0158 | 18.4253 | 2100620.264 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 45603.6732 | 2736.2204 | 942.4778 | 45.6037 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 40.5 | 7874.0158 | 18.3348 | 2126878.0173 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 46173.7191 | 2770.4231 | 942.4778 | 46.1737 | 4181.3 | 8266.6832
1.5 | 45 | 10 | 41 | 7874.0158 | 18.2462 | 2153135.7706 | 55.7165 | 3.66 | 0.58 | 0.0381 | 0.0011401 | 0.0381 | 1000 | 0.0381 | 0.0007255 | 46743.765 | 2804.6259 | 942.4778 | 46.7438 | 4181.3 | 8266.6832
Exit Temperature: temperature of the liquid as it exits the pipe
Wall Temperature: temperature of the pipe's inner wall
Initial Temperature: temperature of the liquid as it enters the pipe
Surface Contact Area: inner pipe perimeter times the length of the pipe
Assumptions:
-We are using water for the liquid within the pipe. Therefore the heat capacity of the system would remain constant.
-This spreadsheet assumes the inflow temperature of the pipe to be at a constant temperature of 10°C and the wall temperature is constant at 50°C. However, the reality would be that the wall temperatures would not be constant or uniform on the pipe.
This is the equation we used to calculate the Exit Temperatures, where Tb is the outflow temperature, h is the local heat transfer coefficient, A is surface contact area of the duct, m is the mass flow rate of the liquid, Cp is the heat capacity, Tw is the wall temperature, Ti is the inflow temperature.

## temps for 2" pipe
Exit Temperatures calculated based on length of pipe
Diameter of the Pipe (in) | Wall Temperature (oC) (Tw) | Initial Temperature (oC) (Ti) | Velocity of the Fluid* (v) (m/s) | Length of Pipe (m) | Exit Temperature (oC) (Tb) | Reynolds Number (Re = pvd / u) | Volumetric Flow Rate (mL/s) | Local Heat Transfer Coefficient (m2K/W) (hx or h) | Nusselt Number (Nu) | Thermal Conductivity (k) (W/mK) | Diameter of the Pipe (m) | Cross Sectional Area (m2) | Hydraulic Diameter (hd) (m) | Density of the Fluid* (p) (kg/m3) | Diameter of the Duct (d) (m) | Dynamic Viscosity of the Fluid* (u) (N-s/m2) | Volumetric Flow Rate (L/min) | Surface Contact Area (A) (m2) | Mass Flow Rate (m) (kg/s) | Heat Capacity (Cp ) (J/kgC)
2 | 45 | 10 | 0.001 | 7874.0158 | 45 | 70.0207 | 2.0268 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 0.12161 | 1256.6371 | 0.0020268 | 4181.3
2 | 45 | 10 | 0.002 | 7874.0158 | 45 | 140.0414 | 4.0537 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 0.24322 | 1256.6371 | 0.0040537 | 4181.3
2 | 45 | 10 | 0.003 | 7874.0158 | 45 | 210.062 | 6.0805 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 0.36483 | 1256.6371 | 0.0060805 | 4181.3
2 | 45 | 10 | 0.004 | 7874.0158 | 45 | 280.0827 | 8.1073 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 0.48644 | 1256.6371 | 0.0081073 | 4181.3
2 | 45 | 10 | 0.005 | 7874.0158 | 45 | 350.1034 | 10.1341 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 0.60805 | 1256.6371 | 0.010134 | 4181.3
2 | 45 | 10 | 0.006 | 7874.0158 | 45 | 420.1241 | 12.161 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 0.72966 | 1256.6371 | 0.012161 | 4181.3
2 | 45 | 10 | 0.007 | 7874.0158 | 45 | 490.1447 | 14.1878 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 0.85127 | 1256.6371 | 0.014188 | 4181.3
2 | 45 | 10 | 0.008 | 7874.0158 | 45 | 560.1654 | 16.2146 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 0.97288 | 1256.6371 | 0.016215 | 4181.3
2 | 45 | 10 | 0.009 | 7874.0158 | 45 | 630.1861 | 18.2415 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 1.0945 | 1256.6371 | 0.018241 | 4181.3
2 | 45 | 10 | 0.01 | 7874.0158 | 45 | 700.2068 | 20.2683 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 1.2161 | 1256.6371 | 0.020268 | 4181.3
2 | 45 | 10 | 0.011 | 7874.0158 | 45 | 770.2274 | 22.2951 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 1.3377 | 1256.6371 | 0.022295 | 4181.3
2 | 45 | 10 | 0.012 | 7874.0158 | 45 | 840.2481 | 24.322 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 1.4593 | 1256.6371 | 0.024322 | 4181.3 | `
2 | 45 | 10 | 0.013 | 7874.0158 | 45 | 910.2688 | 26.3488 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 1.5809 | 1256.6371 | 0.026349 | 4181.3
2 | 45 | 10 | 0.014 | 7874.0158 | 45 | 980.2895 | 28.3756 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 1.7025 | 1256.6371 | 0.028376 | 4181.3
2 | 45 | 10 | 0.015 | 7874.0158 | 45 | 1050.3101 | 30.4024 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 1.8241 | 1256.6371 | 0.030402 | 4181.3
2 | 45 | 10 | 0.016 | 7874.0158 | 45 | 1120.3308 | 32.4293 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 1.9458 | 1256.6371 | 0.032429 | 4181.3
2 | 45 | 10 | 0.017 | 7874.0158 | 45 | 1190.3515 | 34.4561 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 2.0674 | 1256.6371 | 0.034456 | 4181.3
2 | 45 | 10 | 0.018 | 7874.0158 | 45 | 1260.3722 | 36.4829 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 2.189 | 1256.6371 | 0.036483 | 4181.3
2 | 45 | 10 | 0.019 | 7874.0158 | 45 | 1330.3928 | 38.5098 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 2.3106 | 1256.6371 | 0.03851 | 4181.3
2 | 45 | 10 | 0.02 | 7874.0158 | 45 | 1400.4135 | 40.5366 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 2.4322 | 1256.6371 | 0.040537 | 4181.3
2 | 45 | 10 | 0.021 | 7874.0158 | 45 | 1470.4342 | 42.5634 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 2.5538 | 1256.6371 | 0.042563 | 4181.3
2 | 45 | 10 | 0.022 | 7874.0158 | 45 | 1540.4549 | 44.5903 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 2.6754 | 1256.6371 | 0.04459 | 4181.3
2 | 45 | 10 | 0.023 | 7874.0158 | 45 | 1610.4755 | 46.6171 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 2.797 | 1256.6371 | 0.046617 | 4181.3
2 | 45 | 10 | 0.024 | 7874.0158 | 45 | 1680.4962 | 48.6439 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 2.9186 | 1256.6371 | 0.048644 | 4181.3
2 | 45 | 10 | 0.025 | 7874.0158 | 45 | 1750.5169 | 50.6707 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 3.0402 | 1256.6371 | 0.050671 | 4181.3
2 | 45 | 10 | 0.026 | 7874.0158 | 45 | 1820.5376 | 52.6976 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 3.1619 | 1256.6371 | 0.052698 | 4181.3
2 | 45 | 10 | 0.027 | 7874.0158 | 45 | 1890.5582 | 54.7244 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 3.2835 | 1256.6371 | 0.054724 | 4181.3
2 | 45 | 10 | 0.028 | 7874.0158 | 45 | 1960.5789 | 56.7512 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 3.4051 | 1256.6371 | 0.056751 | 4181.3
2 | 45 | 10 | 0.029 | 7874.0158 | 45 | 2030.5996 | 58.7781 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 3.5267 | 1256.6371 | 0.058778 | 4181.3
2 | 45 | 10 | 0.03 | 7874.0158 | 45 | 2100.6203 | 60.8049 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 3.6483 | 1256.6371 | 0.060805 | 4181.3
2 | 45 | 10 | 0.031 | 7874.0158 | 45 | 2170.6409 | 62.8317 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 3.7699 | 1256.6371 | 0.062832 | 4181.3
2 | 45 | 10 | 0.032 | 7874.0158 | 45 | 2240.6616 | 64.8586 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 3.8915 | 1256.6371 | 0.064859 | 4181.3
2 | 45 | 10 | 0.033 | 7874.0158 | 45 | 2310.6823 | 66.8854 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 4.0131 | 1256.6371 | 0.066885 | 4181.3
2 | 45 | 10 | 0.034 | 7874.0158 | 45 | 2380.703 | 68.9122 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 4.1347 | 1256.6371 | 0.068912 | 4181.3
2 | 45 | 10 | 0.035 | 7874.0158 | 45 | 2450.7236 | 70.939 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 4.2563 | 1256.6371 | 0.070939 | 4181.3
2 | 45 | 10 | 0.036 | 7874.0158 | 45 | 2520.7443 | 72.9659 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 4.378 | 1256.6371 | 0.072966 | 4181.3
2 | 45 | 10 | 0.037 | 7874.0158 | 45 | 2590.765 | 74.9927 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 4.4996 | 1256.6371 | 0.074993 | 4181.3
2 | 45 | 10 | 0.038 | 7874.0158 | 45 | 2660.7857 | 77.0195 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 4.6212 | 1256.6371 | 0.07702 | 4181.3
2 | 45 | 10 | 0.039 | 7874.0158 | 45 | 2730.8063 | 79.0464 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 4.7428 | 1256.6371 | 0.079046 | 4181.3
2 | 45 | 10 | 0.04 | 7874.0158 | 45 | 2800.827 | 81.0732 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 4.8644 | 1256.6371 | 0.081073 | 4181.3
2 | 45 | 10 | 0.041 | 7874.0158 | 45 | 2870.8477 | 83.1 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 4.986 | 1256.6371 | 0.0831 | 4181.3
2 | 45 | 10 | 0.042 | 7874.0158 | 45 | 2940.8684 | 85.1269 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 5.1076 | 1256.6371 | 0.085127 | 4181.3
2 | 45 | 10 | 0.043 | 7874.0158 | 45 | 3010.889 | 87.1537 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 5.2292 | 1256.6371 | 0.087154 | 4181.3
2 | 45 | 10 | 0.044 | 7874.0158 | 45 | 3080.9097 | 89.1805 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 5.3508 | 1256.6371 | 0.089181 | 4181.3
2 | 45 | 10 | 0.045 | 7874.0158 | 45 | 3150.9304 | 91.2073 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 5.4724 | 1256.6371 | 0.091207 | 4181.3
2 | 45 | 10 | 0.046 | 7874.0158 | 45 | 3220.9511 | 93.2342 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 5.5941 | 1256.6371 | 0.093234 | 4181.3
2 | 45 | 10 | 0.047 | 7874.0158 | 45 | 3290.9717 | 95.261 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 5.7157 | 1256.6371 | 0.095261 | 4181.3
2 | 45 | 10 | 0.048 | 7874.0158 | 45 | 3360.9924 | 97.2878 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 5.8373 | 1256.6371 | 0.097288 | 4181.3
2 | 45 | 10 | 0.049 | 7874.0158 | 45 | 3431.0131 | 99.3147 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 5.9589 | 1256.6371 | 0.099315 | 4181.3
2 | 45 | 10 | 0.05 | 7874.0158 | 45 | 3501.0338 | 101.3415 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 6.0805 | 1256.6371 | 0.10134 | 4181.3
2 | 45 | 10 | 0.051 | 7874.0158 | 45 | 3571.0544 | 103.3683 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 6.2021 | 1256.6371 | 0.10337 | 4181.3
2 | 45 | 10 | 0.052 | 7874.0158 | 45 | 3641.0751 | 105.3952 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 6.3237 | 1256.6371 | 0.1054 | 4181.3
2 | 45 | 10 | 0.053 | 7874.0158 | 45 | 3711.0958 | 107.422 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 6.4453 | 1256.6371 | 0.10742 | 4181.3
2 | 45 | 10 | 0.054 | 7874.0158 | 45 | 3781.1165 | 109.4488 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 6.5669 | 1256.6371 | 0.10945 | 4181.3
2 | 45 | 10 | 0.055 | 7874.0158 | 45 | 3851.1372 | 111.4756 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 6.6885 | 1256.6371 | 0.11148 | 4181.3
2 | 45 | 10 | 0.056 | 7874.0158 | 45 | 3921.1578 | 113.5025 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 6.8101 | 1256.6371 | 0.1135 | 4181.3
2 | 45 | 10 | 0.057 | 7874.0158 | 45 | 3991.1785 | 115.5293 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 6.9318 | 1256.6371 | 0.11553 | 4181.3
2 | 45 | 10 | 0.058 | 7874.0158 | 45 | 4061.1992 | 117.5561 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 7.0534 | 1256.6371 | 0.11756 | 4181.3
2 | 45 | 10 | 0.059 | 7874.0158 | 45 | 4131.2199 | 119.583 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 7.175 | 1256.6371 | 0.11958 | 4181.3
2 | 45 | 10 | 0.06 | 7874.0158 | 45 | 4201.2405 | 121.6098 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 7.2966 | 1256.6371 | 0.12161 | 4181.3
2 | 45 | 10 | 0.061 | 7874.0158 | 45 | 4271.2612 | 123.6366 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 7.4182 | 1256.6371 | 0.12364 | 4181.3
2 | 45 | 10 | 0.062 | 7874.0158 | 45 | 4341.2819 | 125.6635 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 7.5398 | 1256.6371 | 0.12566 | 4181.3
2 | 45 | 10 | 0.063 | 7874.0158 | 45 | 4411.3026 | 127.6903 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 7.6614 | 1256.6371 | 0.12769 | 4181.3
2 | 45 | 10 | 0.064 | 7874.0158 | 45 | 4481.3232 | 129.7171 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 7.783 | 1256.6371 | 0.12972 | 4181.3
2 | 45 | 10 | 0.065 | 7874.0158 | 45 | 4551.3439 | 131.7439 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 7.9046 | 1256.6371 | 0.13174 | 4181.3
2 | 45 | 10 | 0.066 | 7874.0158 | 45 | 4621.3646 | 133.7708 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 8.0262 | 1256.6371 | 0.13377 | 4181.3
2 | 45 | 10 | 0.067 | 7874.0158 | 45 | 4691.3853 | 135.7976 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 8.1479 | 1256.6371 | 0.1358 | 4181.3
2 | 45 | 10 | 0.068 | 7874.0158 | 45 | 4761.4059 | 137.8244 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 8.2695 | 1256.6371 | 0.13782 | 4181.3
2 | 45 | 10 | 0.069 | 7874.0158 | 45 | 4831.4266 | 139.8513 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 8.3911 | 1256.6371 | 0.13985 | 4181.3
2 | 45 | 10 | 0.07 | 7874.0158 | 45 | 4901.4473 | 141.8781 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 8.5127 | 1256.6371 | 0.14188 | 4181.3
2 | 45 | 10 | 0.071 | 7874.0158 | 45 | 4971.468 | 143.9049 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 8.6343 | 1256.6371 | 0.1439 | 4181.3
2 | 45 | 10 | 0.072 | 7874.0158 | 45 | 5041.4886 | 145.9318 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 8.7559 | 1256.6371 | 0.14593 | 4181.3
2 | 45 | 10 | 0.073 | 7874.0158 | 45 | 5111.5093 | 147.9586 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 8.8775 | 1256.6371 | 0.14796 | 4181.3
2 | 45 | 10 | 0.074 | 7874.0158 | 45 | 5181.53 | 149.9854 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 8.9991 | 1256.6371 | 0.14999 | 4181.3
2 | 45 | 10 | 0.075 | 7874.0158 | 45 | 5251.5507 | 152.0122 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 9.1207 | 1256.6371 | 0.15201 | 4181.3
2 | 45 | 10 | 0.076 | 7874.0158 | 45 | 5321.5713 | 154.0391 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 9.2423 | 1256.6371 | 0.15404 | 4181.3
2 | 45 | 10 | 0.077 | 7874.0158 | 45 | 5391.592 | 156.0659 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 9.364 | 1256.6371 | 0.15607 | 4181.3
2 | 45 | 10 | 0.078 | 7874.0158 | 45 | 5461.6127 | 158.0927 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 9.4856 | 1256.6371 | 0.15809 | 4181.3
2 | 45 | 10 | 0.079 | 7874.0158 | 45 | 5531.6334 | 160.1196 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 9.6072 | 1256.6371 | 0.16012 | 4181.3
2 | 45 | 10 | 0.08 | 7874.0158 | 45 | 5601.654 | 162.1464 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 9.7288 | 1256.6371 | 0.16215 | 4181.3
2 | 45 | 10 | 0.081 | 7874.0158 | 45 | 5671.6747 | 164.1732 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 9.8504 | 1256.6371 | 0.16417 | 4181.3
2 | 45 | 10 | 0.082 | 7874.0158 | 45 | 5741.6954 | 166.2001 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 9.972 | 1256.6371 | 0.1662 | 4181.3
2 | 45 | 10 | 0.083 | 7874.0158 | 45 | 5811.7161 | 168.2269 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 10.0936 | 1256.6371 | 0.16823 | 4181.3
2 | 45 | 10 | 0.084 | 7874.0158 | 45 | 5881.7367 | 170.2537 | 41.7874 | 3.66 | 0.58 | 0.0508 | 0.0020268 | 0.0508 | 1000 | 0.0508 | 0.0007255 | 10.2152 | 1256.6371 | 0.17025 | 4181.3

## temps for 3" pipe
Diameter of the Pipe (in) | Wall Temperature (oC) (Tw) | Initial Temperature (oC) (Ti) | Velocity of the Fluid* (v) (m/s) | Length of Pipe (m) | Exit Temperature (oC) (Tb) | Reynolds Number (Re = pvd / u) | Volumetric Flow Rate (L/min) | Local Heat Transfer Coefficient (m2K/W) (hx or h) | Nusselt Number (Nu) | Thermal Conductivity (k) (W/mK) | Diameter of the Pipe (m) | Cross Sectional Area (m2) | Hydraulic Diameter (hd) (m) | Density of the Fluid* (p) (kg/m3) | Diameter of the Duct (d) (m) | Dynamic Viscosity of the Fluid* (u) (N-s/m2) | Volumetric Flow Rate (mL/s) | Surface Contact Area (A) (m2) | Mass Flow Rate (m) (kg/s) | Heat Capacity (Cp ) (J/kgC)
3 | 45 | 10 | 0.001 | 7874.0158 | 45 | 105.031 | 0.27362 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 4.5604 | 1884.9556 | 0.0045604 | 4181.3
3 | 45 | 10 | 0.002 | 7874.0158 | 45 | 210.062 | 0.54724 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 9.1207 | 1884.9556 | 0.0091207 | 4181.3
3 | 45 | 10 | 0.003 | 7874.0158 | 45 | 315.093 | 0.82087 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 13.6811 | 1884.9556 | 0.013681 | 4181.3
3 | 45 | 10 | 0.004 | 7874.0158 | 45 | 420.1241 | 1.0945 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 18.2415 | 1884.9556 | 0.018241 | 4181.3
3 | 45 | 10 | 0.005 | 7874.0158 | 45 | 525.1551 | 1.3681 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 22.8018 | 1884.9556 | 0.022802 | 4181.3
3 | 45 | 10 | 0.006 | 7874.0158 | 45 | 630.1861 | 1.6417 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 27.3622 | 1884.9556 | 0.027362 | 4181.3
3 | 45 | 10 | 0.007 | 7874.0158 | 45 | 735.2171 | 1.9154 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 31.9226 | 1884.9556 | 0.031923 | 4181.3
3 | 45 | 10 | 0.008 | 7874.0158 | 45 | 840.2481 | 2.189 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 36.4829 | 1884.9556 | 0.036483 | 4181.3
3 | 45 | 10 | 0.009 | 7874.0158 | 45 | 945.2791 | 2.4626 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 41.0433 | 1884.9556 | 0.041043 | 4181.3
3 | 45 | 10 | 0.01 | 7874.0158 | 45 | 1050.3101 | 2.7362 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 45.6037 | 1884.9556 | 0.045604 | 4181.3
3 | 45 | 10 | 0.011 | 7874.0158 | 45 | 1155.3411 | 3.0098 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 50.164 | 1884.9556 | 0.050164 | 4181.3
3 | 45 | 10 | 0.012 | 7874.0158 | 45 | 1260.3722 | 3.2835 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 54.7244 | 1884.9556 | 0.054724 | 4181.3
3 | 45 | 10 | 0.013 | 7874.0158 | 45 | 1365.4032 | 3.5571 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 59.2848 | 1884.9556 | 0.059285 | 4181.3
3 | 45 | 10 | 0.014 | 7874.0158 | 45 | 1470.4342 | 3.8307 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 63.8451 | 1884.9556 | 0.063845 | 4181.3
3 | 45 | 10 | 0.015 | 7874.0158 | 45 | 1575.4652 | 4.1043 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 68.4055 | 1884.9556 | 0.068406 | 4181.3
3 | 45 | 10 | 0.016 | 7874.0158 | 45 | 1680.4962 | 4.378 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 72.9659 | 1884.9556 | 0.072966 | 4181.3
3 | 45 | 10 | 0.017 | 7874.0158 | 45 | 1785.5272 | 4.6516 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 77.5262 | 1884.9556 | 0.077526 | 4181.3
3 | 45 | 10 | 0.018 | 7874.0158 | 45 | 1890.5582 | 4.9252 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 82.0866 | 1884.9556 | 0.082087 | 4181.3
3 | 45 | 10 | 0.019 | 7874.0158 | 45 | 1995.5893 | 5.1988 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 86.647 | 1884.9556 | 0.086647 | 4181.3
3 | 45 | 10 | 0.02 | 7874.0158 | 45 | 2100.6203 | 5.4724 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 91.2073 | 1884.9556 | 0.091207 | 4181.3
3 | 45 | 10 | 0.021 | 7874.0158 | 45 | 2205.6513 | 5.7461 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 95.7677 | 1884.9556 | 0.095768 | 4181.3
3 | 45 | 10 | 0.022 | 7874.0158 | 45 | 2310.6823 | 6.0197 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 100.3281 | 1884.9556 | 0.10033 | 4181.3
3 | 45 | 10 | 0.023 | 7874.0158 | 45 | 2415.7133 | 6.2933 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 104.8884 | 1884.9556 | 0.10489 | 4181.3
3 | 45 | 10 | 0.024 | 7874.0158 | 45 | 2520.7443 | 6.5669 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 109.4488 | 1884.9556 | 0.10945 | 4181.3
3 | 45 | 10 | 0.025 | 7874.0158 | 45 | 2625.7753 | 6.8406 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 114.0092 | 1884.9556 | 0.11401 | 4181.3
3 | 45 | 10 | 0.026 | 7874.0158 | 45 | 2730.8063 | 7.1142 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 118.5696 | 1884.9556 | 0.11857 | 4181.3
3 | 45 | 10 | 0.027 | 7874.0158 | 45 | 2835.8374 | 7.3878 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 123.1299 | 1884.9556 | 0.12313 | 4181.3
3 | 45 | 10 | 0.028 | 7874.0158 | 45 | 2940.8684 | 7.6614 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 127.6903 | 1884.9556 | 0.12769 | 4181.3
3 | 45 | 10 | 0.029 | 7874.0158 | 45 | 3045.8994 | 7.935 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 132.2507 | 1884.9556 | 0.13225 | 4181.3
3 | 45 | 10 | 0.03 | 7874.0158 | 45 | 3150.9304 | 8.2087 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 136.811 | 1884.9556 | 0.13681 | 4181.3
3 | 45 | 10 | 0.031 | 7874.0158 | 45 | 3255.9614 | 8.4823 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 141.3714 | 1884.9556 | 0.14137 | 4181.3
3 | 45 | 10 | 0.032 | 7874.0158 | 45 | 3360.9924 | 8.7559 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 145.9318 | 1884.9556 | 0.14593 | 4181.3
3 | 45 | 10 | 0.033 | 7874.0158 | 45 | 3466.0234 | 9.0295 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 150.4921 | 1884.9556 | 0.15049 | 4181.3
3 | 45 | 10 | 0.034 | 7874.0158 | 45 | 3571.0544 | 9.3031 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 155.0525 | 1884.9556 | 0.15505 | 4181.3
3 | 45 | 10 | 0.035 | 7874.0158 | 45 | 3676.0855 | 9.5768 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 159.6129 | 1884.9556 | 0.15961 | 4181.3
3 | 45 | 10 | 0.036 | 7874.0158 | 45 | 3781.1165 | 9.8504 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 164.1732 | 1884.9556 | 0.16417 | 4181.3
3 | 45 | 10 | 0.037 | 7874.0158 | 45 | 3886.1475 | 10.124 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 168.7336 | 1884.9556 | 0.16873 | 4181.3
3 | 45 | 10 | 0.038 | 7874.0158 | 45 | 3991.1785 | 10.3976 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 173.294 | 1884.9556 | 0.17329 | 4181.3
3 | 45 | 10 | 0.039 | 7874.0158 | 45 | 4096.2095 | 10.6713 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 177.8543 | 1884.9556 | 0.17785 | 4181.3
3 | 45 | 10 | 0.04 | 7874.0158 | 45 | 4201.2405 | 10.9449 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 182.4147 | 1884.9556 | 0.18241 | 4181.3
3 | 45 | 10 | 0.041 | 7874.0158 | 45 | 4306.2715 | 11.2185 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 186.9751 | 1884.9556 | 0.18698 | 4181.3
3 | 45 | 10 | 0.042 | 7874.0158 | 45 | 4411.3026 | 11.4921 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 191.5354 | 1884.9556 | 0.19154 | 4181.3
3 | 45 | 10 | 0.043 | 7874.0158 | 45 | 4516.3336 | 11.7657 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 196.0958 | 1884.9556 | 0.1961 | 4181.3
3 | 45 | 10 | 0.044 | 7874.0158 | 45 | 4621.3646 | 12.0394 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 200.6562 | 1884.9556 | 0.20066 | 4181.3
3 | 45 | 10 | 0.045 | 7874.0158 | 45 | 4726.3956 | 12.313 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 205.2165 | 1884.9556 | 0.20522 | 4181.3
3 | 45 | 10 | 0.046 | 7874.0158 | 45 | 4831.4266 | 12.5866 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 209.7769 | 1884.9556 | 0.20978 | 4181.3
3 | 45 | 10 | 0.047 | 7874.0158 | 45 | 4936.4576 | 12.8602 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 214.3373 | 1884.9556 | 0.21434 | 4181.3
3 | 45 | 10 | 0.048 | 7874.0158 | 45 | 5041.4886 | 13.1339 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 218.8976 | 1884.9556 | 0.2189 | 4181.3
3 | 45 | 10 | 0.049 | 7874.0158 | 45 | 5146.5196 | 13.4075 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 223.458 | 1884.9556 | 0.22346 | 4181.3
3 | 45 | 10 | 0.05 | 7874.0158 | 45 | 5251.5507 | 13.6811 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 228.0184 | 1884.9556 | 0.22802 | 4181.3
3 | 45 | 10 | 0.051 | 7874.0158 | 45 | 5356.5817 | 13.9547 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 232.5787 | 1884.9556 | 0.23258 | 4181.3
3 | 45 | 10 | 0.052 | 7874.0158 | 45 | 5461.6127 | 14.2283 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 237.1391 | 1884.9556 | 0.23714 | 4181.3
3 | 45 | 10 | 0.053 | 7874.0158 | 45 | 5566.6437 | 14.502 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 241.6995 | 1884.9556 | 0.2417 | 4181.3
3 | 45 | 10 | 0.054 | 7874.0158 | 45 | 5671.6747 | 14.7756 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 246.2598 | 1884.9556 | 0.24626 | 4181.3
3 | 45 | 10 | 0.055 | 7874.0158 | 45 | 5776.7057 | 15.0492 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 250.8202 | 1884.9556 | 0.25082 | 4181.3
3 | 45 | 10 | 0.056 | 7874.0158 | 45 | 5881.7367 | 15.3228 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 255.3806 | 1884.9556 | 0.25538 | 4181.3
3 | 45 | 10 | 0.057 | 7874.0158 | 45 | 5986.7678 | 15.5965 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 259.9409 | 1884.9556 | 0.25994 | 4181.3
3 | 45 | 10 | 0.058 | 7874.0158 | 45 | 6091.7988 | 15.8701 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 264.5013 | 1884.9556 | 0.2645 | 4181.3
3 | 45 | 10 | 0.059 | 7874.0158 | 45 | 6196.8298 | 16.1437 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 269.0617 | 1884.9556 | 0.26906 | 4181.3
3 | 45 | 10 | 0.06 | 7874.0158 | 45 | 6301.8608 | 16.4173 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 273.622 | 1884.9556 | 0.27362 | 4181.3
3 | 45 | 10 | 0.061 | 7874.0158 | 45 | 6406.8918 | 16.6909 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 278.1824 | 1884.9556 | 0.27818 | 4181.3
3 | 45 | 10 | 0.062 | 7874.0158 | 45 | 6511.9228 | 16.9646 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 282.7428 | 1884.9556 | 0.28274 | 4181.3
3 | 45 | 10 | 0.063 | 7874.0158 | 45 | 6616.9538 | 17.2382 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 287.3031 | 1884.9556 | 0.2873 | 4181.3
3 | 45 | 10 | 0.064 | 7874.0158 | 45 | 6721.9848 | 17.5118 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 291.8635 | 1884.9556 | 0.29186 | 4181.3
3 | 45 | 10 | 0.065 | 7874.0158 | 45 | 6827.0159 | 17.7854 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 296.4239 | 1884.9556 | 0.29642 | 4181.3
3 | 45 | 10 | 0.066 | 7874.0158 | 45 | 6932.0469 | 18.0591 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 300.9842 | 1884.9556 | 0.30098 | 4181.3
3 | 45 | 10 | 0.067 | 7874.0158 | 45 | 7037.0779 | 18.3327 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 305.5446 | 1884.9556 | 0.30554 | 4181.3
3 | 45 | 10 | 0.068 | 7874.0158 | 45 | 7142.1089 | 18.6063 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 310.105 | 1884.9556 | 0.3101 | 4181.3
3 | 45 | 10 | 0.069 | 7874.0158 | 45 | 7247.1399 | 18.8799 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 314.6653 | 1884.9556 | 0.31467 | 4181.3
3 | 45 | 10 | 0.07 | 7874.0158 | 45 | 7352.1709 | 19.1535 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 319.2257 | 1884.9556 | 0.31923 | 4181.3
3 | 45 | 10 | 0.071 | 7874.0158 | 45 | 7457.2019 | 19.4272 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 323.7861 | 1884.9556 | 0.32379 | 4181.3
3 | 45 | 10 | 0.072 | 7874.0158 | 45 | 7562.233 | 19.7008 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 328.3464 | 1884.9556 | 0.32835 | 4181.3
3 | 45 | 10 | 0.073 | 7874.0158 | 45 | 7667.264 | 19.9744 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 332.9068 | 1884.9556 | 0.33291 | 4181.3
3 | 45 | 10 | 0.074 | 7874.0158 | 45 | 7772.295 | 20.248 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 337.4672 | 1884.9556 | 0.33747 | 4181.3
3 | 45 | 10 | 0.075 | 7874.0158 | 45 | 7877.326 | 20.5217 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 342.0275 | 1884.9556 | 0.34203 | 4181.3
3 | 45 | 10 | 0.076 | 7874.0158 | 45 | 7982.357 | 20.7953 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 346.5879 | 1884.9556 | 0.34659 | 4181.3
3 | 45 | 10 | 0.077 | 7874.0158 | 45 | 8087.388 | 21.0689 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 351.1483 | 1884.9556 | 0.35115 | 4181.3
3 | 45 | 10 | 0.078 | 7874.0158 | 45 | 8192.419 | 21.3425 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 355.7087 | 1884.9556 | 0.35571 | 4181.3
3 | 45 | 10 | 0.079 | 7874.0158 | 45 | 8297.45 | 21.6161 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 360.269 | 1884.9556 | 0.36027 | 4181.3
3 | 45 | 10 | 0.08 | 7874.0158 | 45 | 8402.4811 | 21.8898 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 364.8294 | 1884.9556 | 0.36483 | 4181.3
3 | 45 | 10 | 0.081 | 7874.0158 | 45 | 8507.5121 | 22.1634 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 369.3898 | 1884.9556 | 0.36939 | 4181.3
3 | 45 | 10 | 0.082 | 7874.0158 | 45 | 8612.5431 | 22.437 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 373.9501 | 1884.9556 | 0.37395 | 4181.3
3 | 45 | 10 | 0.083 | 7874.0158 | 45 | 8717.5741 | 22.7106 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 378.5105 | 1884.9556 | 0.37851 | 4181.3
3 | 45 | 10 | 0.084 | 7874.0158 | 45 | 8822.6051 | 22.9843 | 27.8583 | 3.66 | 0.58 | 0.0762 | 0.0045604 | 0.0762 | 1000 | 0.0762 | 0.0007255 | 383.0709 | 1884.9556 | 0.38307 | 4181.3

## temps for 4" pipe
`
Diameter of the Pipe (in) | Wall Temperature (oC) (Tw) | Initial Temperature (oC) (Ti) | Velocity of the Fluid* (v) (m/s) | Length of Pipe (m) | Exit Temperature (oC) (Tb) | Reynolds Number (Re = pvd / u) | Volumetric Flow Rate (L/min) | Local Heat Transfer Coefficient (m2K/W) (hx or h) | Nusselt Number (Nu) | Thermal Conductivity (k) (W/mK) | Diameter of the Pipe (m) | Cross Sectional Area (m2) | Hydraulic Diameter (hd) (m) | Density of the Fluid* (p) (kg/m3) | Diameter of the Duct (d) (m) | Dynamic Viscosity of the Fluid* (u) (N-s/m2) | Volumetric Flow Rate (mL/s) | Surface Contact Area (A) (m2) | Mass Flow Rate (m) (kg/s) | Heat Capacity (Cp ) (J/kgC)
4 | 45 | 10 | 0.0165 | 7874.0158 | 45 | 2310.6823 | 8.0262 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 133.7708 | 2513.2741 | 0.13377 | 4181.3
4 | 45 | 10 | 0.02 | 7874.0158 | 45 | 2800.827 | 9.7288 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 162.1464 | 2513.2741 | 0.16215 | 4181.3
4 | 45 | 10 | 0.03 | 7874.0158 | 45 | 4201.2405 | 14.5932 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 243.2196 | 2513.2741 | 0.24322 | 4181.3
4 | 45 | 10 | 0.04 | 7874.0158 | 45 | 5601.654 | 19.4576 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 324.2928 | 2513.2741 | 0.32429 | 4181.3
4 | 45 | 10 | 0.05 | 7874.0158 | 45 | 7002.0675 | 24.322 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 405.366 | 2513.2741 | 0.40537 | 4181.3
4 | 45 | 10 | 0.06 | 7874.0158 | 45 | 8402.4811 | 29.1864 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 486.4392 | 2513.2741 | 0.48644 | 4181.3
4 | 45 | 10 | 0.07 | 7874.0158 | 45 | 9802.8946 | 34.0507 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 567.5124 | 2513.2741 | 0.56751 | 4181.3
4 | 45 | 10 | 0.08 | 7874.0158 | 45 | 11203.3081 | 38.9151 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 648.5856 | 2513.2741 | 0.64859 | 4181.3
4 | 45 | 10 | 0.09 | 7874.0158 | 45 | 12603.7216 | 43.7795 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 729.6588 | 2513.2741 | 0.72966 | 4181.3
4 | 45 | 10 | 0.1 | 7874.0158 | 45 | 14004.1351 | 48.6439 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 810.732 | 2513.2741 | 0.81073 | 4181.3
4 | 45 | 10 | 0.11 | 7874.0158 | 45 | 15404.5486 | 53.5083 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 891.8052 | 2513.2741 | 0.89181 | 4181.3
4 | 45 | 10 | 0.12 | 7874.0158 | 44.9999 | 16804.9621 | 58.3727 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 972.8784 | 2513.2741 | 0.97288 | 4181.3
4 | 45 | 10 | 0.13 | 7874.0158 | 44.9998 | 18205.3756 | 63.2371 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1053.9516 | 2513.2741 | 1.054 | 4181.3
4 | 45 | 10 | 0.14 | 7874.0158 | 44.9995 | 19605.7891 | 68.1015 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1135.0248 | 2513.2741 | 1.135 | 4181.3
4 | 45 | 10 | 0.15 | 7874.0158 | 44.9989 | 21006.2026 | 72.9659 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1216.098 | 2513.2741 | 1.2161 | 4181.3
4 | 45 | 10 | 0.16 | 7874.0158 | 44.9978 | 22406.6161 | 77.8303 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1297.1711 | 2513.2741 | 1.2972 | 4181.3
4 | 45 | 10 | 0.17 | 7874.0158 | 44.9961 | 23807.0297 | 82.6947 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1378.2443 | 2513.2741 | 1.3782 | 4181.3
4 | 45 | 10 | 0.18 | 7874.0158 | 44.9936 | 25207.4432 | 87.5591 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1459.3175 | 2513.2741 | 1.4593 | 4181.3
4 | 45 | 10 | 0.19 | 7874.0158 | 44.9899 | 26607.8567 | 92.4234 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1540.3907 | 2513.2741 | 1.5404 | 4181.3
4 | 45 | 10 | 0.2 | 7874.0158 | 44.9849 | 28008.2702 | 97.2878 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1621.4639 | 2513.2741 | 1.6215 | 4181.3
4 | 45 | 10 | 0.21 | 7874.0158 | 44.9781 | 29408.6837 | 102.1522 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1702.5371 | 2513.2741 | 1.7025 | 4181.3
4 | 45 | 10 | 0.22 | 7874.0158 | 44.9694 | 30809.0972 | 107.0166 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1783.6103 | 2513.2741 | 1.7836 | 4181.3
4 | 45 | 10 | 0.23 | 7874.0158 | 44.9584 | 32209.5107 | 111.881 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1864.6835 | 2513.2741 | 1.8647 | 4181.3
4 | 45 | 10 | 0.24 | 7874.0158 | 44.9449 | 33609.9242 | 116.7454 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 1945.7567 | 2513.2741 | 1.9458 | 4181.3
4 | 45 | 10 | 0.25 | 7874.0158 | 44.9287 | 35010.3377 | 121.6098 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2026.8299 | 2513.2741 | 2.0268 | 4181.3
4 | 45 | 10 | 0.26 | 7874.0158 | 44.9095 | 36410.7512 | 126.4742 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2107.9031 | 2513.2741 | 2.1079 | 4181.3
4 | 45 | 10 | 0.27 | 7874.0158 | 44.8872 | 37811.1648 | 131.3386 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2188.9763 | 2513.2741 | 2.189 | 4181.3
4 | 45 | 10 | 0.28 | 7874.0158 | 44.8615 | 39211.5783 | 136.203 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2270.0495 | 2513.2741 | 2.27 | 4181.3
4 | 45 | 10 | 0.29 | 7874.0158 | 44.8324 | 40611.9918 | 141.0674 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2351.1227 | 2513.2741 | 2.3511 | 4181.3
4 | 45 | 10 | 0.3 | 7874.0158 | 44.7997 | 42012.4053 | 145.9318 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2432.1959 | 2513.2741 | 2.4322 | 4181.3
4 | 45 | 10 | 0.31 | 7874.0158 | 44.7635 | 43412.8188 | 150.7961 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2513.2691 | 2513.2741 | 2.5133 | 4181.3
4 | 45 | 10 | 0.32 | 7874.0158 | 44.7235 | 44813.2323 | 155.6605 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2594.3423 | 2513.2741 | 2.5943 | 4181.3
4 | 45 | 10 | 0.33 | 7874.0158 | 44.6798 | 46213.6458 | 160.5249 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2675.4155 | 2513.2741 | 2.6754 | 4181.3
4 | 45 | 10 | 0.34 | 7874.0158 | 44.6324 | 47614.0593 | 165.3893 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2756.4887 | 2513.2741 | 2.7565 | 4181.3
4 | 45 | 10 | 0.35 | 7874.0158 | 44.5813 | 49014.4728 | 170.2537 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2837.5619 | 2513.2741 | 2.8376 | 4181.3
4 | 45 | 10 | 0.36 | 7874.0158 | 44.5265 | 50414.8863 | 175.1181 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2918.6351 | 2513.2741 | 2.9186 | 4181.3
4 | 45 | 10 | 0.37 | 7874.0158 | 44.4681 | 51815.2998 | 179.9825 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 2999.7083 | 2513.2741 | 2.9997 | 4181.3
4 | 45 | 10 | 0.38 | 7874.0158 | 44.4061 | 53215.7134 | 184.8469 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3080.7815 | 2513.2741 | 3.0808 | 4181.3
4 | 45 | 10 | 0.39 | 7874.0158 | 44.3407 | 54616.1269 | 189.7113 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3161.8547 | 2513.2741 | 3.1619 | 4181.3
4 | 45 | 10 | 0.4 | 7874.0158 | 44.2719 | 56016.5404 | 194.5757 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3242.9279 | 2513.2741 | 3.2429 | 4181.3
4 | 45 | 10 | 0.41 | 7874.0158 | 44.1998 | 57416.9539 | 199.4401 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3324.0011 | 2513.2741 | 3.324 | 4181.3
4 | 45 | 10 | 0.42 | 7874.0158 | 44.1244 | 58817.3674 | 204.3045 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3405.0743 | 2513.2741 | 3.4051 | 4181.3
4 | 45 | 10 | 0.43 | 7874.0158 | 44.046 | 60217.7809 | 209.1688 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3486.1475 | 2513.2741 | 3.4861 | 4181.3
4 | 45 | 10 | 0.44 | 7874.0158 | 43.9646 | 61618.1944 | 214.0332 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3567.2207 | 2513.2741 | 3.5672 | 4181.3
4 | 45 | 10 | 0.45 | 7874.0158 | 43.8804 | 63018.6079 | 218.8976 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3648.2939 | 2513.2741 | 3.6483 | 4181.3
4 | 45 | 10 | 0.46 | 7874.0158 | 43.7934 | 64419.0214 | 223.762 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3729.3671 | 2513.2741 | 3.7294 | 4181.3
4 | 45 | 10 | 0.47 | 7874.0158 | 43.7037 | 65819.4349 | 228.6264 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3810.4403 | 2513.2741 | 3.8104 | 4181.3
4 | 45 | 10 | 0.48 | 7874.0158 | 43.6116 | 67219.8484 | 233.4908 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3891.5134 | 2513.2741 | 3.8915 | 4181.3
4 | 45 | 10 | 0.49 | 7874.0158 | 43.5171 | 68620.262 | 238.3552 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 3972.5866 | 2513.2741 | 3.9726 | 4181.3
4 | 45 | 10 | 0.5 | 7874.0158 | 43.4203 | 70020.6755 | 243.2196 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4053.6598 | 2513.2741 | 4.0537 | 4181.3
4 | 45 | 10 | 0.51 | 7874.0158 | 43.3214 | 71421.089 | 248.084 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4134.733 | 2513.2741 | 4.1347 | 4181.3
4 | 45 | 10 | 0.52 | 7874.0158 | 43.2204 | 72821.5025 | 252.9484 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4215.8062 | 2513.2741 | 4.2158 | 4181.3
4 | 45 | 10 | 0.53 | 7874.0158 | 43.1175 | 74221.916 | 257.8128 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4296.8794 | 2513.2741 | 4.2969 | 4181.3
4 | 45 | 10 | 0.54 | 7874.0158 | 43.0128 | 75622.3295 | 262.6772 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4377.9526 | 2513.2741 | 4.378 | 4181.3
4 | 45 | 10 | 0.55 | 7874.0158 | 42.9064 | 77022.743 | 267.5415 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4459.0258 | 2513.2741 | 4.459 | 4181.3
4 | 45 | 10 | 0.56 | 7874.0158 | 42.7984 | 78423.1565 | 272.4059 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4540.099 | 2513.2741 | 4.5401 | 4181.3
4 | 45 | 10 | 0.57 | 7874.0158 | 42.6889 | 79823.57 | 277.2703 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4621.1722 | 2513.2741 | 4.6212 | 4181.3
4 | 45 | 10 | 0.58 | 7874.0158 | 42.5781 | 81223.9835 | 282.1347 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4702.2454 | 2513.2741 | 4.7022 | 4181.3
4 | 45 | 10 | 0.59 | 7874.0158 | 42.4659 | 82624.3971 | 286.9991 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4783.3186 | 2513.2741 | 4.7833 | 4181.3
4 | 45 | 10 | 0.6 | 7874.0158 | 42.3526 | 84024.8106 | 291.8635 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4864.3918 | 2513.2741 | 4.8644 | 4181.3
4 | 45 | 10 | 0.61 | 7874.0158 | 42.2381 | 85425.2241 | 296.7279 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 4945.465 | 2513.2741 | 4.9455 | 4181.3
4 | 45 | 10 | 0.62 | 7874.0158 | 42.1226 | 86825.6376 | 301.5923 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5026.5382 | 2513.2741 | 5.0265 | 4181.3
4 | 45 | 10 | 0.63 | 7874.0158 | 42.0062 | 88226.0511 | 306.4567 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5107.6114 | 2513.2741 | 5.1076 | 4181.3
4 | 45 | 10 | 0.64 | 7874.0158 | 41.889 | 89626.4646 | 311.3211 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5188.6846 | 2513.2741 | 5.1887 | 4181.3
4 | 45 | 10 | 0.65 | 7874.0158 | 41.771 | 91026.8781 | 316.1855 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5269.7578 | 2513.2741 | 5.2698 | 4181.3
4 | 45 | 10 | 0.66 | 7874.0158 | 41.6522 | 92427.2916 | 321.0499 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5350.831 | 2513.2741 | 5.3508 | 4181.3
4 | 45 | 10 | 0.67 | 7874.0158 | 41.5329 | 93827.7051 | 325.9143 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5431.9042 | 2513.2741 | 5.4319 | 4181.3
4 | 45 | 10 | 0.68 | 7874.0158 | 41.413 | 95228.1186 | 330.7786 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5512.9774 | 2513.2741 | 5.513 | 4181.3
4 | 45 | 10 | 0.69 | 7874.0158 | 41.2926 | 96628.5321 | 335.643 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5594.0506 | 2513.2741 | 5.5941 | 4181.3
4 | 45 | 10 | 0.7 | 7874.0158 | 41.1717 | 98028.9457 | 340.5074 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5675.1238 | 2513.2741 | 5.6751 | 4181.3
4 | 45 | 10 | 0.71 | 7874.0158 | 41.0505 | 99429.3592 | 345.3718 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5756.197 | 2513.2741 | 5.7562 | 4181.3
4 | 45 | 10 | 0.72 | 7874.0158 | 40.929 | 100829.7727 | 350.2362 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5837.2702 | 2513.2741 | 5.8373 | 4181.3
4 | 45 | 10 | 0.73 | 7874.0158 | 40.8073 | 102230.1862 | 355.1006 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5918.3434 | 2513.2741 | 5.9183 | 4181.3
4 | 45 | 10 | 0.74 | 7874.0158 | 40.6853 | 103630.5997 | 359.965 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 5999.4166 | 2513.2741 | 5.9994 | 4181.3
4 | 45 | 10 | 0.75 | 7874.0158 | 40.5632 | 105031.0132 | 364.8294 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6080.4898 | 2513.2741 | 6.0805 | 4181.3
4 | 45 | 10 | 0.76 | 7874.0158 | 40.4409 | 106431.4267 | 369.6938 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6161.563 | 2513.2741 | 6.1616 | 4181.3
4 | 45 | 10 | 0.77 | 7874.0158 | 40.3186 | 107831.8402 | 374.5582 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6242.6362 | 2513.2741 | 6.2426 | 4181.3
4 | 45 | 10 | 0.78 | 7874.0158 | 40.1963 | 109232.2537 | 379.4226 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6323.7094 | 2513.2741 | 6.3237 | 4181.3
4 | 45 | 10 | 0.79 | 7874.0158 | 40.074 | 110632.6672 | 384.287 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6404.7825 | 2513.2741 | 6.4048 | 4181.3
4 | 45 | 10 | 0.8 | 7874.0158 | 39.9518 | 112033.0807 | 389.1513 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6485.8557 | 2513.2741 | 6.4859 | 4181.3
4 | 45 | 10 | 0.81 | 7874.0158 | 39.8297 | 113433.4943 | 394.0157 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6566.9289 | 2513.2741 | 6.5669 | 4181.3
4 | 45 | 10 | 0.82 | 7874.0158 | 39.7077 | 114833.9078 | 398.8801 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6648.0021 | 2513.2741 | 6.648 | 4181.3
4 | 45 | 10 | 0.83 | 7874.0158 | 39.5858 | 116234.3213 | 403.7445 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6729.0753 | 2513.2741 | 6.7291 | 4181.3
4 | 45 | 10 | 0.84 | 7874.0158 | 39.4642 | 117634.7348 | 408.6089 | 20.8937 | 3.66 | 0.58 | 0.1016 | 0.0081073 | 0.1016 | 1000 | 0.1016 | 0.0007255 | 6810.1485 | 2513.2741 | 6.8101 | 4181.3